## Monitoring PPM
MONITORING PPM REST AREA BETJAM SEKSI 4
NO. | NO. APPROVAL | TANGGAL APPROVED | NAMA MATERIAL |  | SPESIFIKASI | MERK | PEKERJAAN | TANGGAL MASUK PJT |  | STATUS | ARSIP PPM | TKDN | GARANSI | MANUAL BOOK | KETERANGAN
1 | 001/PPM/RA/BETJAM/I/2025 | 2025-01-09 | Baja Tulangan Ø 10 mm |  | Kuat tarik leleh minimum 280 Mpa | Ex. Lautan Steel Indonesia | Struktur Bangunan |  | 2025-01-02 | Approved | 001 PPM Baja Tulangan Polos 10 mm Ex. Lautan Steel.pdf | - |  |  |  | 2025-01-30
2 | 002/PPM/RA/BETJAM/I/2025 | 2025-01-09 | Baja Tulangan D 13 |  | Kuat tarik leleh minimum 420 Mpa | Ex. Citra Baru Steel | Struktur Bangunan |  | 2025-01-02 | Approved | 002 PPM Baja Tulangan Ulir 13 Ex. CBS.pdf | TKDN CBS.pdf |  |  |  | 2025-01-30
3 | 003/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Baja Ringan |  |  | Ex. Taso | Rangka Atap |  | 2025-01-02 | Approved | 003 PPM Baja Ringan Ex. Taso.pdf | TKDN Taso.pdf |  |  |  | 2025-01-30
|  |  |  | Profil Kuda - Kuda | C.75.75
|  |  |  | Profil Usuk/ Gording | TR MX 110.45
4 | 004/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Bata Ringan |  | BJ Kering : 520 kg/m3, BJ Normal : 600 kg/m3, Kuat Tekan : ≥ 4 N/mm2 | Ex. Walbrick | Dinding |  | 2025-01-02 | Approved | 004 PPM Bata Ringan Ex. Wallbrick.pdf | - |  |  |  | 2025-01-30
Uk. 600 x 200 x 100 mm
Uk. 600 x 200 x 75 mm
5 | 005/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Bata Ringan |  | BJ Normal : 600 ± 50 kg/m3, Kuat Tekan : ≥ 4,25 N/mm2 | Ex. Fortune Block Indonesia (FBI) | Dinding |  | 2025-01-02 | Approved | 005 PPM Bata Ringan Ex. FBI.pdf | - |  |  |  | 2025-01-30
Uk. 600 x 200 x 100 mm
Uk. 600 x 200 x 75 mm
6 | 006/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Plafond Gypsumboard |  |  |  | Plafond |  | 2025-01-02 | Approved | 006 PPM Plafond Gypsum Ex. Aplus.pdf | TKDN Plafond.pdf |  |  |  | 2025-01-30
|  |  |  | Plafond Gypsumboard | Uk. 2400x1200x9 mm | Ex Aplus
7 | 007/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Floor Hardener |  |  | Ex. Sika Chapdur |  |  | 2025-01-02 | Approved | 007 PPM Floor Hardener Ex. Sika Chapdur.pdf
8 | 007A/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Minipile Pondasi Highmash |  | 25 x 25 x 600 cm | Ex. PT Kunango Jantan |  |  | 2025-01-02 | Approved | 007A PPM Minipile Pondasi Highmash.pdf
9 | 008/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Listplank |  | GRC Timber Plank Motif Urat Kayu 8mm | Ex. Aplus | Atap |  | 2025-01-02 | Approved | 008 PPM Lisplank Ex. Aplus.pdf | TKDN Lisplank.pdf |  |  |  | 2025-01-30
10 | 009/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Kaca |  |  |  | Pintu dan Jendela |  | 2025-01-02 | Approved | 009 PPM Kaca Ex. Asahimas.pdf | - |  |  |  | 2025-01-30
|  |  |  | Kaca Polos | Tebal 5 mm | Ex. Asahimas
|  |  |  | Kaca Tempered | Tebal 10 mm | Ex. Asahimas
11 | 010/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Cermin |  | Tebal 6 mm | Ex. Asahimas | Cermin Wastafel |  | 2025-01-02 | Approved | 010 PPM Cermin Ex. Asahimas.pdf | TKDN Cermin.pdf |  |  |  | 2025-01-30
12 | 011/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Conduit Ø 20 mm : |  | Diameter Ø 20 mm | Ex. Boss | Elektrikal |  | 2025-01-02 | Approved | 011 PPM Pipa Conduit Ex. Boss.pdf | TKDN Pipa Conduit Boss.pdf |  |  |  | 2025-02-19
Junction Boxes
Conduit 20 mm
Corrugated Conduit
Joining Coupling
Inspection Elbow
Inspection Tees
90° Bends
Saddle
Spacer
Conduit Clip
Screwed Coupling
Male Bushes
Glands
13 | 012/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Rangka Plafond |  | Hollow 40 x 40 | Ex. Aplus |  |  | 2025-01-02 | Approved | 012 PPM Rangka Plafond Ex. Aplus.pdf | TKDN Hollow.pdf |  |  |  | 2025-01-30
14 | 013/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Multiplek Pelapis Atap |  | Tebal 12 mm | Ex. Apel (Lokal) |  |  | 2025-01-02 | Approved | 013 PPM Multiplek Ex. Apel.pdf | - |  |  |  | 2025-01-30
15 | 014/PPM/RA/BETJAM/I/2025 | 2025-01-12 | Cat Waterprofing |  | Sika Top - 107 seal | Ex. Sika |  |  | 2025-01-02 | Approved | 014 PPM Waterproofing Ex. Sika Top - 107 Seal.pdf | TKDN SikaTop.pdf |  |  |  | 2025-01-30
16 | 015/PPM/RA/BETJAM/I/2025 | 2025-01-13 | Pekerjaan Instalasi Air Kotor dan Bekas |  |  |  | Instalasi Air Kotor |  | 2025-01-02 | Approved | 015 PPM Pipa Air Kotor dan Bekas Ex. Rucika.pdf | TKDN Pipa PVC.pdf |  |  |  | 2025-02-19
|  |  |  | Pipa PVC AW Dia. 1/2" - 6” | Dia. 1/2 - 6” | Ex. Rucika
|  |  |  | Aksesoris Pipa | Dia. 1/2 - 6” | Ex. Rucika
17 | 016/PPM/RA/BETJAM/I/2025 | 2025-01-13 | Septic Tank |  |  |  | Instalasi Air Kotor |  | 2025-01-02 | Approved | 016 PPM STP Ex. Biotechno.pdf | TKDN STP.pdf | 10 Th
|  |  |  | Kapasitas 1 m³ | BTO - 1000 | Ex. Biotechno
|  |  |  | Kapasitas 2 m³ | BTO - 2000 | Ex. Biotechno
|  |  |  | Kapasitas 3 m³ | RCO - 3 | Ex. Biotechno
|  |  |  | Kapasitas 4 m³ | RCO - 4 | Ex. Biotechno
|  |  |  | Kapasitas 5 m³ | RCO - 5 | Ex. Biotechno
18 | 017/PPM/RA/BETJAM/I/2025 | 2025-01-26 | Baja Tulangan |  |  |  | Struktur Bangunan |  | 2025-01-12 | Approved | 017 PPM Baja Tulangan Ex. Asia Steel.pdf | TKDN Asia Steel.pdf |  |  |  | 2025-02-19
|  |  |  | Baja Tulangan Polos 10 mm | Kuat Tarik Leleh Minimum 280 Mpa | Ex. Asia Steel
|  |  |  | Baja Tulangan Ulir 13 mm | Kuat Tarik Leleh Minimum 420 Mpa | Ex. Asia Steel
19 | 017A/PPM/RA/BETJAM/I/2025 | 2025-01-31 | Angkur Ø 16 mm |  | BJTS 420 | BJTS 420 |  |  | 2025-01-12 | Approved | 017A PPM Angkur Dia. 16 mm.pdf | -
20 | 017B/PPM/RA/BETJAM/I/2025 | 2025-01-31 | Baja Tulangan Ulir 10 mm |  | Kuat tarik leleh minimum 420 Mpa | Ex. Citra Baru Steel |  |  | 2025-01-12 | Approved | 017B PPM Baja Tulangan D10 Ex. CBS.pdf | TKDN CBS.pdf
21 | 018/PPM/RA/BETJAM/II/2025 | 2025-02-02 | Kabel Instalasi Elektrikal |  |  |  | Elektrikal |  | 2015-01-16 | Approved | 018 PPM Kabel Instalasi Elektrikal Ex. Supreme.pdf | TKDN Supreme.pdf
|  |  |  | Instalasi Penerangan | NYM 3x2,5 mm2 | Ex. Supreme
|  |  |  | Instalasi Stopkontak | NYM 3x2,5 mm2 | Ex. Supreme
|  |  |  | Instalasi Stopkontak AC | NYM 3x4 mm2 | Ex. Supreme
22 | 020/PPM/RA/BETJAM/II/2025 | 2025-02-02 | Cat Baja Profil |  |  |  | Baja Profil |  | 2015-01-16 | Approved | 020 PPM Cat Baja Profil Ex. Nippon Paint.pdf | -
|  |  |  | Cat Dasar | Zinc Chromate Primer Green | Ex. Nippon Paint
|  |  |  | Cat Finish | Bee Brand Junior 66 Super Black | Ex. Nippon Paint
23 | 021/PPM/RA/BETJAM/II/2025 | 2025-02-02 | PIPA AIR BERSIH |  |  |  | Instalasi Air Bersih |  | 2015-01-16 | Approved | 021 PPM Pipa GIP Ex. Spindo.pdf | TKDN Pipa GIP.pdf |  |  |  | 2025-02-19
Pipa GIP ( Galvanized iron pipe )
|  |  |  | ● Pipa GIP Dia. 200 mm (8") | Tebal Min. 6,4 mm | Ex. Spindo
|  |  |  | ● Pipa GIP Dia. 150 mm (6") | Tebal Min. 5 mm | Ex. Spindo
|  |  |  | ● Pipa GIP Dia. 100 mm (4") | Tebal Min. 4,5 mm | Ex. Spindo
|  |  |  | ● Pipa GIP Dia. 80 mm (3") | Tebal Min. 4 mm | Ex. Spindo
|  |  |  | ● Pipa GIP Dia. 65 mm (2 1/2") | Tebal Min. 3,6 mm | Ex. Spindo
|  |  |  | ● Pipa GIP Dia. 40 mm (1 1/2") | Tebal Min. 3,2 mm | Ex. Spindo
|  |  |  | ● Pipa GIP Dia. 25 mm (1") | Tebal Min. 3,2 mm | Ex. Spindo
24 | 022/PPM/RA/BETJAM/II/2025 | 2025-02-02 | PIPA HYDRANT |  |  |  | Hydrant |  | 2015-01-16 | Approved | 022 PPM Pipa Hydrant BSP Ex. Spindo.pdf | TKDN Pipa BSP SCH 40.pdf |  |  |  | 2025-02-19
Pipa BSP ( Black Steel Pipe ) sch 40
|  |  |  | ● BSP Dia. 200 mm (8") | Tebal Min. 8,18 mm | Ex. Spindo
|  |  |  | ● BSP Dia. 150 mm (6") | Tebal Min. 7,11 mm | Ex. Spindo
|  |  |  | ● BSP Dia. 100 mm (4") | Tebal Min. 6,02 mm | Ex. Spindo
|  |  |  | ● BSP Dia. 65 mm (2 1/2") | Tebal Min. 5,16 mm | Ex. Spindo
|  |  |  | ● BSP Dia. 15 mm (1/2") | Tebal Min. 2,77 mm | Ex. Spindo
25 | 023/PPM/RA/BETJAM/II/2025 | 2025-02-02 | Alat Bantu Air Bersih |  |  |  | Instalasi Air Bersih |  | 2015-01-16 | Approved | 023 PPM Alat Bantu Air Bersih Ex. Yuta.pdf | TKDN PN 10 Yuta.pdf |  |  |  | 2025-02-19
|  |  |  | Strainer Dia. 2" | PN 10 Bar | Ex. Yuta Model Fig. 10 CY
|  |  |  | Gate Valve Dia. 1", 1 1/2", 2", 2 1/2", 3" | PN 10 Bar | Ex. Yuta Model Fig. 10 CG
|  |  |  | Check Valve Dia. 2" | PN 10 Bar | Ex. Yuta Model Fig. 10 CC
|  |  |  | Floating Valve Dia. 65 mm, 75 mm | PN 10 Bar | Ex. Yuta Model Fig. 901
26 | 024/PPM/RA/BETJAM/II/2025 | 2025-02-02 | Alat Bantu Hydrant |  |  |  | Instalasi Hydrant |  | 2015-01-16 | Approved | 024 PPM Alat Bantu Hydrant Ex. Yuta.pdf | TKDN PN 16 Yuta.pdf |  |  |  | 2025-02-19
|  |  |  | Strainer Diameter 65 mm dan 150 mm | PN 16 Bar | Ex. Yuta Model Fig.125 CY
|  |  |  | Gate Valve Diameter 65, 100 , 150 mm | PN 16 Bar | Ex. Yuta Model Fig.125 CG
|  |  |  | Check Valve Diameter 65 mm, 150 mm | PN 16 Bar | Ex. Yuta ModelFig.125 CC
27 | 025/PPM/RA/BETJAM/II/2025 | 2025-02-02 | Wraping Pipa |  | 4" (100 mm), 100ft (30 m) | Ex. Polyken 980 | Proteksi Pipa |  | 2015-01-16 | Approved | 025 PPM Wraping Pipa Ex. Polyken 980.pdf | -
28 | 026/PPM/RA/BETJAM/II/2025 | 2025-02-02 | Pompa Deep Well |  | Type submersible, Kapasitas 200 lpm, Head 120 mtr, Daya 5,5 Kw | Grundfos model SP 14-20 | Instalasi Air Bersih |  | 2015-01-16 | Approved | 026 PPM Pompa Deep Well Ex. Grundfos.pdf | - | 1 Th
29 | 027/PPM/RA/BETJAM/II/2025 | 2025-02-05 | Pompa Hydrant dan Panel Hydrant |  |  |  | Instalasi Hydrant |  | 2015-01-16 | Approved | 027 PPM Panel dan Pompa Hydrant Ex. Fairbanks Nijhuis.pdf | TKDN Pompa Hydrant.pdf | 1 Th
|  |  |  | Pompa Jockey Hydrant | Kapasitas 15 GPM, Head 100 MTR, Putaran 2900 Rpm, Type Vertikal multi stage | Ex. Fairbanks Nijhuis PVM 5-16
|  |  |  | Pompa Electric Hydrant | Pompa : | Ex. Fairbanks Nijhuis 1300/100-65-250
Kapasitas 500 GPM, Head 90 MTR, Putaran 2950 Rpm, Type Centrifugal end suction
[5 empty] | Coupled to: | Ex. Titan TM-250M-2
Power 75 Hp, 3000 Rpm/380 V/50 Hz 3 ph
|  |  |  | Pompa Diesel Hydrant | Pompa : | Ex. Fairbanks Nijhuis 1300/100-65-250
Kapasitas 500 GPM, Head 90 MTR, Putaran 2950 Rpm, Type Centrifugal end suction
[5 empty] | Coupled to: | Fawde 4DX23-120GG2
Power 104 Hp, 3000 Rpm
30 | 028/PPM/RA/BETJAM/II/2025 | 2025-02-05 | Transformator Daya |  | Kapasitas 630 kVA, Oil Type, Tegangan 20/0,4 kV, 50 Hz | Ex. Bambang Djaja | Elektrikal |  | 2015-01-16 | Approved | 028 PPM Transformator Daya Ex. Bambang Djaja.pdf | TKDN Trafo.pdf
31 | 029/PPM/RA/BETJAM/II/2025 | 2025-02-05 | Generator Set |  | Genset model INT 440C Engine Cummins / 6ZTAA13-G2 | Ex. Cummins | Elektrikal |  | 2015-01-16 | Approved | 029 PPM Generator Set Ex. Cummins.pdf | TKDN Genset.pdf | 1 Th / 2000 jam
Kapasitas 400 KVA, type silent, tegangan 380 Volt, 50 Hz, 1500 Rpm
Stamford Slternator S4L1D-F41, Deep Sea 6010
32 | 030/PPM/RA/BETJAM/II/2025 | 2025-02-05 | Lampu PJU dan Lampu Highmash | [5 empty] | 2015-01-16 | Approved | 030 PPM Lampu PJU dan Lampu Highmas Ex. Philips.pdf | TKDN Lampu PJU dan Highmash.pdf | Garansi Lampu PJU.pdf
|  |  |  | Lampu PJU 150 Watt | RoadFlair BRP392 LED210/NW 150 W 220-240V DM MP1 | Ex. Philips
|  |  |  | Lampu Highmash 200 Watt | Tango G4 LED Flood BVP432 LED274/NW 220~240V 200W SWB GM | Ex. Philips
33 | 031/PPM/RA/BETJAM/II/2025 | 2025-02-05 | Apar 6 kg |  | Type ABC Powder | Ex. Viking |  |  | 2015-01-16 | Approved | 031 PPM Apar 6 kg Ex. Viking.pdf
34 | 032/PPM/RA/BETJAM/II/2025 |  | Tiang PJU dan Tiang Highmash |  |  |  | Penerangan Jalan Umum |  | 2025-04-22 | Rejected |  | TKDN Tiang PJU dan Highmash.pdf
|  |  |  | Tiang PJU 1 Ornamen 13 Mtr Octagonal | Tebal Plat base Plat :16 mm | Ex. PT Tridaya Guna Energi
Ukuran Base Plate : 400mm x400 mm
Tebal Pole : 3.2 mm
Type Pole : Galvanis Octagonal
|  |  |  | Tiang PJU 2 Ornamen 13 Mtr Octagonal | Tebal Plat base Plat :16 mm | Ex. PT Tridaya Guna Energi
Ukuran Base Plate : 400mm x400 mm
Tebal Pole : 3.2 mm
Type Pole : Galvanis Octagonal
|  |  |  | Tiang Highmas 20 Mtr Polygonal | Tebal Base Plate :25 mm | Ex. PT Tridaya Guna Energi
Diameter base Plate : 800 mm
Tebal Pole Segment A : 6 mm
Type Pole : Galvanis Polygonal
35 | 033/PPM/RA/BETJAM/II/2025 |  | KABEL FEEDER |  |  |  | Elektrikal |  | 2025-04-22 | Approved | 033 PPM Kabel Feeder Ex. KMI.pdf | TKDN Kabel Feeder.pdf
Kabel Feeder dari outgoing TM PLN ke:
|  |  |  | Incom panel TM kawasan | NA2XSEYBY 3 x 300 mm2 | Ex. Kabelindo
|  |  | Kabel Feeder dari PUTM ke Trafo: |  | N2XSY 3 x 1C x 70 mm2
|  |  | Kabel Feeder dari Trafo ke PUTR: |  | NYY 4 x 1C x 300 mm2 | Ex. Kabelmetal Indonesia
Kabel Feeder dari PUTR ke:
|  |  |  | PP-Utilitas | NYFGBY 4 x 10 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP-Hydrant | FRC 4 x 1C x 95 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP-Pompa | NYFGBY 4 x 16 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PKG | NYY 4 x 1C x 300 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | Cap. Bank | NYY 4 x 1C x 300 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP Kantor Pengelola | NYFGBY 4 x 10 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP Masjid | NYFGBY 4 x 16 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP foodcourt 1 | NYFGBY 4 x 35 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP foodcourt 2 | NYFGBY 4 x 35 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP Bengkel | NYFGBY 4 x 16 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP Toilet Umum | NYFGBY 4 x 10 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP Kantin | NYFGBY 4 x 10 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | PP Highmas 1 dan Highmas 2 | NYFGBY 4 x 10 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | DB-OL.01 (PJU 1) | NYFGBY 4 x 25 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | DB-OL.02 (PJU 2) | NYFGBY 4 x 16 mm2 | Ex. Kabelmetal Indonesia
Kabel Feeder dari PKG ke:
|  |  |  | Genset | NYY 4 x 1C x 300 mm2 | Ex. Kabelmetal Indonesia
Kabel Feeder dari PP-Hydrant ke:
|  |  |  | Pc-JP | FRC 4 x 4 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | Pc-EFP | FRC 6 x 1 x 70 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | Pc-EFP | FRC 6 x 1 x 70 mm2 | Ex. Kabelmetal Indonesia
|  |  | Kabel Feeder dari PJU 1 ke PJU 3 |  | NYFGBY 4 x 16 mm2 | Ex. Kabelmetal Indonesia
|  |  | Kabel Feeder dari Foodcourt 2 ke Mini market 02 |  | NYFGBY 4 x 16 mm2 | Ex. Kabelmetal Indonesia
|  |  | Kabel Feeder dari Foodcourt 1 ke Mini market 01 |  | NYY 4 x 10 mm2 | Ex. Kabelmetal Indonesia
|  |  | Kabel Feeder dari Kantor Pengelola ke Klinik |  | NYY 3 x 4 mm2 | Ex. Kabelmetal Indonesia
36 | 034PPM/RA/BETJAM/II/2025 | 2025-02-05 | Panel Tanki FRP |  |  |  | Tangki Air |  | 2025-01-21 | Approved | 034 PPM Tanki FRP Ex. Biotechno.pdf | TKDN FRP.pdf | 10 Th
|  |  |  | Tanki FRP Kap.192 m³ | FRP | Ex. Biotechno
37 | 035PPM/RA/BETJAM/II/2025 | 2025-02-05 | Kabel Tray dan Kabel Ladder |  | Tebal 2 mm | Ex. Traytek |  |  | 2025-01-21 | Approved | 035 PPM kabel Tray & Kabel Ladder Ex. Traytek.pdf | TKDN Kabel Tray.pdf
38 | 036PPM/RA/BETJAM/II/2025 | 2025-02-05 | Casing Pompa Deep Well |  | Tebal 4.2 mm | Ex. Spindo | Struktur Bangunan |  |  | Approved | 036 PPM Casing Pompa Deep Well.pdf
39 | 037PPM/RA/BETJAM/II/2025 | 2025-02-05 | Alat Bantu Air Bersih | [5 empty] | 2025-05-14 | Approved | 037 PPM Alat Bantu Air Bersih Ex. Yuta.pdf | TKDN PN 16 Yuta.pdf
|  |  |  | Strainer 1 1/2" | 1 1/2" | Fig. ST Ex. Yuta 16 Bar
|  |  |  | Gate Valve 1", 1 1/2", 2" | 1", 1 1/2", 2" | Fig. GT Ex. Yuta 16 Bar
|  |  |  | Check Valve 1/2" | 1/2" | Fig. C Ex. Yuta 16 Bar
40 | 038PPM/RA/BETJAM/II/2025 | 2025-02-05 | Flexible Joint Duct |  |  | Ex. Polar |  |  | 2025-01-21 | Approved | 038 PPM Flexible Joint Duck Ex. Polar.pdf
41 | 039PPM/RA/BETJAM/II/2025 | 2025-02-05 | Atap Bitumen + Underlayer |  | Warna Bark Brown | Ex. BSK | Penutup Atap |  | 2025-01-21 | Approved | 039 PPM Atap Bitumen Bark Brown Ex. BSK.pdf | - | 20 Th
42 | 040PPM/RA/BETJAM/II/2025 | 2025-02-05 | Exhaust Air Grille |  |  | Ex. Prima Wangi |  |  | 2025-01-21 | Approved | 040 PPM Exhaust Air Grille Ex. Prima Wangi.pdf
43 | 041PPM/RA/BETJAM/II/2025 | 2025-02-05 | Apar kap 25 kg |  | Type ABC | Ex. Hooseki |  |  | 2025-01-21 | Approved | 041 PPM Apar 25 kg Ex. Hooseki.pdf
44 | 042PPM/RA/BETJAM/II/2025 | 2025-02-05 | Pipa Air Bersih | [5 empty] | 2025-01-21 | Approved | 042 PPM Pipa PPR PN 10 Ex. Rucika.pdf | TKDN PPR.pdf | -
|  |  |  | Pipa PPR Dia. 1/2" - 5" | PN 10 | Ex. Rucika
45 | 043PPM/RA/BETJAM/II/2025 | 2025-02-12 | Aksesoris Hydrant | [5 empty] | 2025-01-26 | Approved | 043 PPM Aksesoris Hydrant Ex. Hooseki.pdf |  | 1 Th
|  |  |  | Hydrant pillar two ways type | Type H-14 AP | Ex. Hooseki
|  |  |  | Hydrant box dengan hose rell cabinet | Type C (Outdoor) | Ex. Hooseki
|  |  |  | Siamese connection | Type S7 | Ex. Hooseki
46 | 044PPM/RA/BETJAM/II/2025 | 2025-02-12 | Sanitary | [5 empty] | 2025-01-26 | Approved | 044 PPM Sanitary.pdf | TKDN Sanitary.pdf | Toto 10 Th
|  |  |  | Closet jongkok | CE 7 | Ex. Toto
|  |  |  | Closet duduk | CW 427 J / SW 427 JP | Ex. Toto
|  |  |  | Closet Difabel | CW 705 ELNJ | Ex. Toto
|  |  |  | Wastafel Dinding | LW 246 J kran TX 129 L | Ex. Toto
|  |  |  | Wastafel Stand Alone | LW 895 J | Ex. Toto
|  |  |  | Urinoir | U 57 M | Ex. Toto
|  |  |  | Partisi Urinoir | A 100 | Ex. Toto
|  |  |  | Kran Air Closet jongkok | T23 B13 | Ex. Toto
|  |  |  | Kran wudhu | T23BQ13N | Ex. Toto
|  |  |  | Kran wastafel Stand Alone | TX 123 LRR | Ex. Toto
|  |  |  | Tissue Holder | TX720ABW | Ex. Toto
|  |  |  | Jet washer | TX403SEV2 | Ex. Toto
|  |  |  | Shoap dispenser | WSD-145 CHROME | Ex. Wasser
|  |  |  | Kitchen Sink | 1 Lubang 90 x 50 cm | Ex. Royal Contempo Nero
|  |  |  | Kran Kitchen Sink | TLX-141F | Ex. Wasser
|  |  |  | Robe Hook | TS118WSB | Ex. Toto
|  |  |  | Hand Dryer | Ak2630tk | Ex. Krisbow
|  |  |  | Floor drain | HSA-6436 | Ex. Wasser
47 | 045PPM/RA/BETJAM/II/2025 | 2025-02-12 | Kran Taman |  | TC-030B | Ex. Wasser |  |  | 2025-01-26 | Approved | 045 PPM Kran Taman Ex. Wasser.pdf | -
48 | 046PPM/RA/BETJAM/II/2025 | 2025-02-12 | Grouting Base Plat |  | SikaGrout - 215 | Ex. Sika |  |  | 2025-01-26 | Approved | 046 PPM SikaGrout 215 Ex. Sika.pdf | -
49 | 047PPM/RA/BETJAM/II/2025 | 2025-02-16 | Kusen |  | Shop Front 4" powder coating Black | Ex. Alexindo |  |  | 2025-01-26 | Approved | 047 PPM Kusen Ex. Alexindo.pdf | TKDN Alexindo.pdf
50 | 048PPM/RA/BETJAM/II/2025 | 2025-02-16 | KERAMIK | [5 empty] | 2025-01-26 | Approved | 048 PPM Keramik Ex. Roman.pdf | TKDN Keramik.pdf
Masjid
|  |  |  | Lantai dalam & teras mesjid | Granit Uk. 60x60 cm Polished | Ex. Roman GT609758FR dHelsinki Bone
|  |  |  | Lantai ruang wudhu | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602456R dRitz Avorio
|  |  |  | Lantai dalam toilet | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G337255 dPadua Grigio
|  |  |  | Lantai ramp & tangga | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G330513 dBatur Charcoal
|  |  |  | Dinding toilet & ruang wudhu | Granit Uk. 30x60 cm Polished | Ex. Roman W63346R dSedra Perla
|  |  |  | Dinding belakang toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63356R dSedra Grigio
|  |  |  | List lantai dalam mesjid | Keramik Uk. 30x60 cm Polished | Ex. Roman W63456R dPortoro Black
|  |  |  | Dinding ruang ibadah | Granit Uk. 60x60 cm Polished | Ex. Roman GT609899FR dRapolino Siena
|  |  |  | Tempat duduk tempat wudhu | Keramik Uk. 40x40 cm Unpolished | Ex. Roman G440505 dKrubera Grigio
Foodcourt
|  |  |  | Lantai dalam & teras Food court | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602152R dArlington Grey
|  |  |  | Lantai koridor toilet | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602456R dRitz Avorio
|  |  |  | Lantai toilet dalam | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G337255 dPadua Grigio
|  |  |  | Lantai tangga | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G330513 dBatur Charcoal
|  |  |  | Dinding toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63346R dSedra Perla
|  |  |  | Dinding belakang toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63356R dSedra Grigio
|  |  |  | List dinding toilet | Keramik Uk. 30x60 cm Polished | Ex. Roman W63456R dPortoro Black
|  |  |  | Meja wastafel | Granit Uk. 60x60 cm Polished | Ex. Roman GT609815FR dGregiro Grigio
Restaurant
|  |  |  | Lantai dalam & teras Restaurant | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602152R dArlington Grey
|  |  |  | Lantai koridor toilet | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602456R dRitz Avorio
|  |  |  | Lantai toilet dalam | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G337255 dPadua Grigio
|  |  |  | Lantai tangga | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G330513 dBatur Charcoal
|  |  |  | Dinding toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63346R dSedra Perla
|  |  |  | Dinding belakang toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63356R dSedra Grigio
|  |  |  | List dinding toilet | Keramik Uk. 30x60 cm Polished | Ex. Roman W63456R dPortoro Black
|  |  |  | Meja wastafel | Granit Uk. 60x60 cm Polished | Ex. Roman GT609815FR dGregiro Grigio
Toilet Umum Kendaraan Besar
|  |  |  | Lantai teras dan koridor toilet | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602456R dRitz Avorio
|  |  |  | Lantai toilet dalam | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G337255 dPadua Grigio
|  |  |  | Dinding toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63346R dSedra Perla
|  |  |  | Dinding belakang toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63356R dSedra Grigio
|  |  |  | List dinding toilet | Keramik Uk. 30x60 cm Polished | Ex. Roman W63456R dPortoro Black
|  |  |  | Meja wastafel | Granit Uk. 60x60 cm Polished | Ex. Roman GT609815FR dGregiro Grigio
Kantor Pengelola
|  |  |  | Lantai dalam | Granit Uk. 60x60 cm Polished | Ex. Roman GT609758FR dHelsinki Bone
|  |  |  | Lantai teras | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602456RdRitz Avorio
|  |  |  | Lantai toilet | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G337255 dPadua Grigio
|  |  |  | Lantai ramp & tangga | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G330513 dBatur Charcoal
|  |  |  | Dinding toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63346R dSedra Perla
|  |  |  | Dinding belakang toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63356R dSedra Grigio
|  |  |  | List dinding toilet | Keramik Uk. 30x60 cm Polished | Ex. Roman W63456R dPortoro Black
|  |  |  | Meja wastafel | Granit Uk. 60x60 cm Polished | Ex. Roman GT609815FR dGregiro Grigio
Bengkel
|  |  |  | Lantai Bengkel | Granit Uk. 60x60 cm Polished | Ex. Roman GT609758FR dHelsinki Bone
|  |  |  | Lantai Toilet | Keramik Uk. 30x30 cm Unpolished | Ex. Roman G337255 dPadua Grigio
|  |  |  | Dinding toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63346R dSedra Perla
|  |  |  | Dinding belakang toilet | Granit Uk. 30x60 cm Polished | Ex. Roman W63356R dSedra Grigio
|  |  |  | Meja wastafel | Granit Uk. 60x60 cm Polished | Ex. Roman GT609815FR dGregiro Grigio
Kantin Tempat Istirahat Supir
|  |  |  | Lantai dapur dan Teras | Granit Uk. 60x60 cm Unpolished | Ex. Roman GT602152R dArlington Grey
|  |  |  | Meja Dapur | Granit Uk. 60x60 cm Polished | Ex. Roman GT609815FR dGregiro Grigio
51 | 049PPM/RA/BETJAM/II/2025 | 2025-02-16 | Pompa Transfer dan Pompa Distribusi |  | Kapasitas 2x150 lpm, Head 150 mtr, Motor factory standard: Power 2x7.5 Kw @2900 Rpm, 380 V, 3ph/50Hz | Ex. Ironguard IGVM 10-18 |  |  | 2025-04-22 | Approved | 049 PPM Pompa Transfer Ex. Ironguard.pdf
52 | 050PPM/RA/BETJAM/II/2025 | 2025-02-18 | Mortar Instan untuk Pekerjaan Dinding | [5 empty] | 2025-02-02 | Approved | 050 PPM Mortar Instan Ex. MU.pdf | TKDN MU.pdf | -
|  |  |  | Pasangan Bata Ringan |  | Ex. MU-380
|  |  |  | Plesteran |  | Ex. MU-301
|  |  |  | Acian |  | Ex. MU-200
53 | 051PPM/RA/BETJAM/II/2025 | 2025-02-18 | Perekat dan Nat Keramik | [5 empty] | 2025-02-02 | Approved | 051 PPM Perekat Keramik dan Nat Keramik.pdf | TKDN Nat keramik.pdf | -
|  |  |  | Perekat Keramik |  | Ex. MU-420 Cerafix
|  |  |  | Nat Keramik |  | Ex. SikaTile Grout
54 | 052PPM/RA/BETJAM/II/2025 | 2025-02-18 | Roster |  | 20 x 20 | Ex. Lokal |  |  | 2025-02-02 | Approved | 052 PPM Roster Ex. Lokal.pdf | - | -
55 | 053PPM/RA/BETJAM/II/2025 | 2025-02-18 | Tanki Air 12 m3 |  | 2 x 3 x 2 | Ex. Biotechno |  |  | 2025-02-02 | Approved | 053 PPM Tangki FRP 12 m3 Ex. Biotechno.pdf | TKDN FRP.pdf
56 | 054PPM/RA/BETJAM/II/2025 | 2025-02-18 | HPL Pelapis Daun Pintu |  | TH 192 DP Tadao calacatta, TH 1215 NT Geneva Elm | Ex. Taco |  |  | 2025-05-09 | Approved | 054 PPM HPL Pelapis Daun Pintu.pdf
57 | 055PPM/RA/BETJAM/II/2025 | 2025-02-18 | Baja Profil IWF | [5 empty] | 2025-02-02 | Approved | 055 PPM Baja Profil IWF Ex. Lautan Steel.pdf
|  |  |  | IWF 200 x 100 x 5.5 x 8 | BJ P41 | Ex. Lautan Steel
|  |  |  | IWF 250 x 125 x 6 x 9 | BJ P41 | Ex. Lautan Steel
58 | 056/PPM/RA/BETJAM/II/2025 | 2025-02-18 | Tata Suara kawasan | [5 empty] | 2025-02-02 | Approved | 056 PPM Tata Suara Kawasan.pdf | TKDN TOA.pdf | 1 Th
|  |  |  | Power Amplifier 360 W | VP-1361(301H) | Ex. TOA
|  |  |  | FM Radio Tuner | Z-MD100A-AS | Ex. TOA
|  |  |  | Paging Microphone | ZM-660P | Ex. TOA
|  |  |  | Dynamic Microphone | ZM-260 | Ex. TOA
|  |  |  | PA Amplifier | ZA-2240 | Ex. TOA
|  |  |  | Speaker Selector 5 Channel | ZA-1240SS | Ex. TOA
|  |  |  | Cabinet Rack 20U | IR9020G | Ex. Lokal
|  |  |  | Paging Horn Speaker 25 W | ZH-625SM | Ex. TOA
|  |  |  | Kabel NYMHY 2 x 1,5 mm² | NYMHY 2 x 1,5 mm² | Ex. Kabelmetal Indonesia
|  |  |  | Dual Equalizer | E-232(301H/313H) | Ex. TOA
59 | 057/PPM/RA/BETJAM/II/2025 | 2025-02-18 | CCTV Kawasan | [5 empty] | 2025-02-02 | Approved | 057 PPM CCTV Kawasan.pdf | TKDN CCTV.pdf | 1 Th
|  |  |  | Network Video Recorder 32 Channel | DS-7732NI-K4 Series NVR | Ex. Hikvision
|  |  |  | Monitor 32" komputer | 32LM550 | Ex. LG
|  |  |  | Key Board controller | K120 | Ex. Logitech
|  |  |  | Mouse | M90 | Ex. Logitech
|  |  |  | Unit Camera 2 MP | DS-2DE4225IW-DE(T5) | Ex. Hikvision
|  |  |  | Kabel UTP CAT 6 | DS-1LN6-UE-W | Ex. Hikvision
|  |  |  | Tiang CCTV dan Tiang Tata Suara | Tinggi 6 m dia. 2" | Ex. Tridaya Guna Energi
60 | 058/PPM/RA/BETJAM/II/2025 | 2025-02-18 | Panel | [5 empty] | 2025-02-02 | Approved | 058 PPM Panel Wajra.pdf |  |  |  | Brosur kurang
|  |  |  | Panel PUTR |  | Box Ex. Wajra Komponen Ex. Schneider
|  |  |  | Panel PKG |  | Box Ex. Wajra Komponen Ex. Schneider
|  |  |  | Panel Capasitor Bank |  | Box Ex. Wajra Komponen Ex. Schneider
|  |  |  | Panel Distribusi Pompa |  | Box Ex. Wajra Komponen Ex. Schneider
Panel Highmash
|  |  |  | Panel PJU 1 |  | Box Ex. Wajra Komponen Ex. Schneider
|  |  |  | Panel PJU 2 |  | Box Ex. Wajra Komponen Ex. Schneider
|  |  |  | Panel PJU 3 |  | Box Ex. Wajra Komponen Ex. Schneider
61 | 059/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Flexible Joint Dia. 65 mm dan 150 mm |  | JIS 16 K | Ex. Tozen |  |  | 2025-02-07 | Approved | 059 PPM Flexible Joint Hydrant Ex. Tozen.pdf
62 | 060/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Flexible Joint Dia. 50 mm |  | JIS 10 K | Ex. Tozen |  |  | 2025-02-07 | Approved | 060 PPM Flexible Joint Air Bersih Ex. Tozen.pdf
63 | 062/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Pressure Gauge |  | Model P359 (0 - 16 Bar) | Ex. Wise |  |  | 2025-02-07 | Approved | 062 PPM Pressure Gauge Ex. Wise.pdf
64 | 063/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Main Control Valve |  | PN 16 /DN150 Model J-1 | Ex. Viking |  |  | 2025-02-07 | Approved | 063 PPM Main Control Valve.pdf
65 | 064/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Sand & Carbon Filter |  | FT3072-4D | Ex. Nanotec |  |  | 2025-02-07 | Approved | 064 PPM Sand & Carbon Filter Ex. Nanotec.pdf |  | 1 Th
66 | 065/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Ducting BJLS |  | Tebal 0.7 mm | Ex. Fumira Grip |  |  | 2025-02-07 | Approved | 065 PPM Ducting BJLS Ex. Fumira Grip.pdf
70 | 066/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Floor Clean Out |  | HN 58 | Ex. San-Ei |  |  | 2025-02-07 | Approved | 066 PPM Floor Clean Out Ex. San-Ei.pdf
71 | 067/PPM/RA/BETJAM/II/2025 | 2025-02-23 | Baja Tulangan Pondasi PJU |  | Ulir Dia. 13 mm dan 16 mm | Ex. Lautan Steel |  |  | 2025-02-07 | Approved | 067 PPM Baja Tulangan Pondasi PJU.pdf
69 | 068/PPM/RA/BETJAM/III/2025 | 2025-03-02 | Roof Drain |  |  | Ex. San-Ei |  |  | 2025-02-07 | Approved | 068 PPM Roof Drain Ex. San-Ei.pdf
70 | 069/PPM/RA/BETJAM/III/2025 | 2025-03-02 | Saklar dan Stop kontak | [5 empty] | 2025-02-07 | Approved | 069 PPM Saklar dan Stop Kontak.pdf |  |  |  | Type Style
|  |  |  | Saklar Tunggal | WESJ78019 warna AS & WESJ5571B | Ex. Panasonic
|  |  |  | Saklar Ganda | WESJ78029 warna AS & WESJ5581B | Ex. Panasonic
|  |  |  | Stop Kontak Dinding | WESJP1121 warna AS | Ex. Panasonic
|  |  |  | Stop Kontak AC 13 A | WBSJ 1214 warna MWS | Ex. Panasonic
71 | 075/PPM/RA/BETJAM/III/2025 | 2025-03-02 | Tata Suara Masjid | [5 empty] | 2025-02-07 | Approved | 075 PPM Tata Suara Masjid.pdf
|  |  |  | Digital Mixer Amplifier | ZA-3224D-AS 1 | Ex. TOA
|  |  |  | Digital Power Amplifier | ZA-3248D-AS 1 | Ex. TOA
|  |  |  | Power Amplifier | ZP-2240 | Ex. TOA
|  |  |  | Media Player | Z-MD100A-AS | Ex. TOA
|  |  |  | Horn Speaker 60 W | ZH-662MD-AS | Ex. TOA
|  |  |  | Compact Column Speaker | ZS-S60CB | Ex. TOA
|  |  |  | Wireless Microphone | Z-WS100H-AS | Ex. TOA
|  |  |  | Clip On Microphone | ZM-361-AS | Ex. TOA
|  |  |  | Microphone Mimbar | ZM-380-AS | Ex. TOA
|  |  |  | Dinamic Mic | ZM-420 | Ex. TOA
|  |  |  | Kabel Instalasi Tata Suara | NYMHY 2 x 2.5 mm2 | Ex. Supreme
|  |  |  | Cabinet Rack | Flight Case Rack 12U | Ex. TOA
|  |  |  | Standing Mix | ST-321B | Ex. TOA
72 | 077/PPM/RA/BETJAM/III/2025 |  | Rolling Door |  | One Sheet 75, Perforated warna Cream, tebal 0.45 mm |  |  |  |  | Rejected
73 | 078/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Penangkal Petir | [5 empty] | 2025-02-15 | Approved | 078 PPM Penangkal Petir.pdf |  | Garansi Kurn.pdf | Manual Book Kurn.pdf
|  |  |  | Elektrostatis, R=150 m |  | Ex. Kurn R 150
|  |  |  | Kabel NYY 1 x 70 mm2 |  | Ex. Kabelmetal Indonesia
|  |  |  | Grounding BC 70 mm (max. 2 Ohm) |  | Ex. Kabelmetal Indonesia
|  |  |  | Grounding Rod 5/8" |  | Ex. Sutrado
74 | 079/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Louver depan Foodcourt dan Restaurant |  | Aluminium profil 4", Powder coating black, Jarak antar profil 5 cm | Ex. Alexindo |  |  | 2025-02-15 | Approved | 079 PPM Louver FC dan Resto Ex. Alexindo.pdf | TKDN Alexindo.pdf
75 | 080/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Lampu | [5 empty] | 2025-02-15 | Approved | 080 PPM Lampu Downlight Ex. Philips.pdf
|  |  |  | Downlight Magneos LED 9 Watt | Philips LED Downlight Magneos DL262 9 watt | Ex. Philips
|  |  |  | Downlight Magneos LED 12 Watt | Philips LED Downlight Magneos DL262 12 watt | Ex. Philips
|  |  |  | Downlight Outbow LED 9 Watt | LED Downlight DN Surface Mounted DN027C 9 watt | Ex. Philips
|  |  |  | TL 10 Watt | Smartbright T8 Batten BN012C LED10/CW L600 G3 | Ex. Philips
|  |  |  | TL 20 Watt | Smartbright T8 Batten BN013C LED20/CW L1200 G3 | Ex. Philips
|  |  |  | Led Strip | LS161 COB LED8 8.5W 930 5M 24V | Ex. Philips
76 | 081/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Kabel PJU | [5 empty] | 2025-02-15 | Approved | 081 PPM Kabel PJU Ex. KMI.pdf | TKDN Kabel PJU.pdf
|  |  |  | Kabel dari tiang ke tiang PJU | NYFGBY 4x6 mm2 | Ex. Kabelmetal Indonesia
|  |  |  | Kabel dari lampu ke handhole tiang | NYY 3x2.5 mm2 | Ex. Kabelmetal Indonesia
77 | 082/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Cat Kansteen | [5 empty] | 2025-02-15 | Approved | 082 PPM Cat Kansteen Ex. Nippon Paint.pdf
|  |  |  | Cat Dasar | Wall Sealer 5100 | Ex. Nippon
|  |  |  | Cat Finish | Mayan Yellow dan Black | Ex. Nippon Bee Brand 1000
78 | 083/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Exhaust Fan Type Inline | [5 empty] | 2025-02-15 | Approved | 083 PPM Exhaust Fan Type Inline.pdf
|  |  |  | Kapasitas 1200 CMH | AFD-400GLV/8/055/4-HJ | Ex. CKE
|  |  |  | Kapasitas 1530 CMH | AFD-400GLV/8/055/4-HJ | Ex. CKE
|  |  |  | Kapasitas 2550 CMH | AFD-400GLV/8/075/4-HJ | Ex. CKE
79 | 084/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Sealant Kusen |  | Warna Hitam | Ex. Marks |  |  | 2025-02-15 | Approved | 084. PPM Sealant Kusen.pdf
80 | 085/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Pintu Aluminium |  | Spandrel Double | Ex. Alexindo |  |  | 2025-02-15 | Approved | 085 PPM Pintu Aluminium Ex. Alexindo.pdf
81 | 086/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Cat Dinding Interior |  | NP OW 1083P Reticent White | Ex. Nippon Spot Less |  |  | 2025-02-15 | Approved | 086 PPM Cat Ex. Nippon Paint.pdf
[5 empty] | NP N 2027P Gray Suit | Ex. Nippon Spot Less
[5 empty] | NP N 2030A Crater Black | Ex. Nippon Spot Less
|  |  | Cat Dinding Exterior |  | NP OW 1083P Reticent White | Ex. Nippon Weatherbond
[5 empty] | NP N 2027P Gray Suit | Ex. Nippon Weatherbond
[5 empty] | NP N 2030A Crater Black | Ex. Nippon Weatherbond
[5 empty] | 1001 Brilliant White | Ex. Nippon Weatherbond
|  |  | Cat Plafond |  | 1001 Brilliant White | Ex. Nippon Spot Less
|  |  | Cat Roster |  | NP N 2030 A Carter Black | Ex. Nippon Weatherbond
Cat Lisplank GRC
|  |  |  | Cat Utama | AC 2140 A Caramel Twirl | Ex. Nippon Weatherbond
|  |  |  | Cat Texture | NP AC 2135A Expresso | Ex. Nippon Weatherbond
|  |  | Cat Dasar |  | Wall Sealer 5100 | Ex. Nippon Paint
82 | 087/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Flow Meter Dia. 2 1/2" - 8" |  | LXLG | Ex. B&R (Yuta) |  |  | 2025-02-15 | Approved | 087 PPM Flow Meter Ex. B&R.pdf
83 | 088/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Ducting BJLS |  | Tebal 0.7 mm | Ex. Lokfom |  |  | 2025-02-15 | Approved | 088 PPM Ducting BJLS Ex. Lokfom.pdf
84 | 089/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Aksesoris Pintu |  |  | Ex. Dekson |  |  | 2025-02-15 | Approved | 089 PPM Aksesoris Pintu.pdf
85 | 090/PPM/RA/BETJAM/III/2025 | 2025-03-03 | AC Split Wallmounted | [5 empty] | 2025-02-15 | Approved | 090 PPM AC Split Ex. LG.pdf
|  |  |  | Kapasitas 5.000 BTUH (1/2 PK) | Dual Coll New Eco | Ex. LG
|  |  |  | Kapasitas 9.000 BTUH (1 PK) | Dual Coll New Eco | Ex. LG
|  |  |  | Kapasitas 12.000 BTUH (1 1/2 PK) | Dual Coll New Eco | Ex. LG
|  |  |  | Kapasitas 18.000 BTUH (2 PK) | Dual Coll New Eco | Ex. LG
86 | 092/PPM/RA/BETJAM/III/2025 | 2025-03-03 | Pressure Tank |  | Kapasitas 500 L | Ex. PT Muntek Berkah Utama |  |  | 2025-02-15 | Approved | 092 PPM Pressure Tank Kap. 500 L.pdf
87 | 093/PPM/RA/BETJAM/III/2025 |  | Lampu Hias Masjid | [5 empty] | 2025-02-15 | Approved | 093 PPM Lampu Hias Masjid.pdf
|  |  |  | Lampu Gantung | SCH-9066-18+6+2 | Ex. Supra C.E
|  |  |  | Lampu Dinding | SCW-6689-1 | Ex. Supra C.E
88 | 094/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Shadow Line |  |  | Ex. Aplus |  |  | 2025-03-14 | Approved | 094 PPM Shadow Line Plafond.pdf
89 | 095/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Angkur PJU |  | Polos 22 mm | Ex. Lautan Steel |  |  | 2025-03-14 | Approved | 095 PPM Angkur PJU.pdf
90 | 096/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Ornamen PVC Masjid | [5 empty] | 2025-03-14 | Approved | 096 PPM Ornamen Masjid.pdf
|  |  |  | Ornamen Islamic Area Mihrab | PVC Board Tebal 9 mm Ex. Taco Finishing Nippe 2000 Warna NP YO 1168T Coachlight | Ex. Taco & Ex. Nippon Paint
Ornamen Lafadz Allah
Ornamen Lafadz Muhammad
Ornamen Plafond Masjid
91 | 097/PPM/RA/BETJAM/III/2025 |  | Pintu Power House | [5 empty] | 2025-06-21 | Approved | 097 PPM Pintu Power House.pdf
|  |  |  | Hollow 40x60 | Tebal 1.2 mm | Ex. Lokal
|  |  |  | Pelat Besi | Tebal 1 mm | Ex. Lokal
|  |  |  | Cat Dasar | Zinchromate primer | Ex. Nippon Bodelac 9000
|  |  |  | Cat Finish | Warna Disco Beat | Ex. Nippon Bodelac 2 in 1
92 | 098/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Ornamen Karawang | [5 empty] | 2025-03-15 | Approved | 098 PPM Ornamen Karawang.pdf
|  |  |  | Ornamen karawang depan Masjid |  | Ex. Lokal
Ornamen karawang penutup lisplank
93 | 099/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Stop kontak outbow |  | WKJ1131 | Ex. Panasonic |  |  | 2025-03-15 | Approved | 099 PPM Stop Kontak Outbow.pdf
94 | 100/PPM/RA/BETJAM/III/2025 |  | Makara kubah masjid |  | Plat Stainless Steel Gold | Ex. Lokal |  |  |  | Rejected
95 | 101/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Pressure Switch |  | FF 4-16 DAH | Ex. Tival |  |  | 2025-03-15 | Approved | 101 PPM Pressure Switch.pdf
96 | 102/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Exhaust Fan Wall Mounted |  | ESN-D16/1 (FA-40) | Ex. CKE |  |  | 2025-03-15 | Approved | 102 PPM Exhaust Fan Wallmounted.pdf
97 | 103/PPM/RA/BETJAM/III/2025 |  | Panel Bangunan |  |  | Ex. Nurinda |  |  |  | Proses
98 | 104/PPM/RA/BETJAM/III/2025 |  | Name Board Masjid |  | Akrilik tebal 3mm, kode warna 135 | Ex. Marga Cipta |  |  | 2025-06-21 | Approved | 104 PPM Name Board Masjid.pdf
99 | 105/PPM/RA/BETJAM/III/2025 |  | Atap Zincalume (Atap TPS) |  | Warna Hitam | Ex. Aplus |  |  |  | Revisi
100 | 106/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Glass Block |  | Type Linio | Ex. Mulia |  |  | 2025-03-15 | Approved | 106 PPM Glass Block Ex. Mulia.pdf
101 | 107/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Besi Hollow 50x100 (Atap TPS) |  | Tebal 2 mm | Ex. Lokal |  |  |  | Proses
102 | 108/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Valve | [5 empty] | 2025-03-15 | Approved | 108 PPM Valve.pdf
|  |  |  | Diameter 1/2" - 2 1/2" | Ball Valve FBS | Ex. Yuta
|  |  |  | Diameter 3" - 4" | Gate Valve GT | Ex. Yuta
103 | 109/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Exhaust Fan Ceiling |  | CD-BPT-30-MRS | Ex. CKE |  |  | 2025-03-15 | Approved | 109 PPM ExhausFan Ceiling.pdf
104 | 110/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Lampu Highbay |  | BY229P LED195/CW PSU GM 6500K | Ex. Philips |  |  | 2025-03-15 | Approved | 110 PPM Lampu Highbay.pdf
105 | 111/PPM/RA/BETJAM/III/2025 | 2025-03-29 | Pipa Refrigerant |  |  | Ex. Toyoda |  |  | 2025-03-15 | Approved | 111 PPM Pipa Refrigerant.pdf
106 | 112/PPM/RA/BETJAM/III/2025 |  | Safety Valve |  | PN 16 | Ex. YOY |  |  |  | Proses
107 | 113/PPM/RA/BETJAM/III/2025 |  | Air Vent |  | PN 16 | Ex. Gala |  |  |  | Proses
111 | 114/PPM/RA/BETJAM/III/2025 |  | Grease Trap |  | Stainless Steel 30 liter | Ex. Biotechno |  |  |  | Proses
112 | 115/PPM/RA/BETJAM/III/2025 |  | Lampu Sorot Kubah Masjid | [6 empty] | Revisi
110 | 116/PPM/RA/BETJAM/III/2025 | 2025-03-30 | Lampu Sorot Name Board Foodcourt dan Resto |  | BVP150 LED20/WW PSU 20W SWB G3 GM | Ex. Philips |  |  | 2025-03-17 | Approved | 116. PPM Lampu Sorot Name Board FC dan Resto.pdf
111 | 117/PPM/RA/BETJAM/III/2025 |  | Gazebo
Rangka Gazebo
Atap
112 | 118/PPM/RA/BETJAM/III/2025 |  | Name Board Rest Area
|  |  |  | Font Rest Area | Akrilik
|  |  |  | Font HK | Akrilik
|  |  |  | logo HK | Akrilik
|  |  |  | Logo PU | Akrilik
|  |  |  | Lampu Led Strip 3 watt | 3 watt
|  |  |  | Cat Pillar | Warna abu-abu
|  |  |  | Ornamen Angso Duo | Plat fin. cat duco
|  |  |  | Dinding Name Board | Conwood fin. coklat kuning
|  |  |  | Lampu Sorot LED 50 watt | 50 watt
|  |  |  | Bata Merah | Ukuran........
Ornamen Kayu

## List Material
MATERIAL REST AREA BETJAM 4
No. | NO. APPROVAL | TANGGAL PENGAJUAN | Material |  |  | Spesifikasi | MERK | PPM |  |  |  | Keterangan
[8 empty] | Disetujui | Proses Pengajuan / TTD | Lampiran Kurang | Belum Diajukan
S T R U K T U R
Pekerjaan Struktur
1 | 001/PPM/RA/BETJAM/I/2025 | 2025-01-09 |  | Baja Tulangan Ø 10 mm |  | Kuat tarik leleh minimum 280 Mpa | Ex. Lautan Steel Indonesia | 1
2 | 002/PPM/RA/BETJAM/I/2025 | 2025-01-09 |  | Baja Tulangan D 13 |  | Kuat tarik leleh minimum 420 Mpa | Ex. Citra Baru Steel | 1
3 |  |  |  | Baja Tulangan D 10 |  | Kuat tarik leleh minimum 420 Mpa | Ex. Citra Baru Steel | 1
4 |  |  |  | Mortar 1 : 4 |  | Campuran Mortar = 1SP : 4PP |  | 1
5 |  |  |  | Beton fc' = 15 Mpa |  |  | Ex. BP Terdekat | 1
6 |  |  |  | Wiremesh M6 |  | union metal |  | 1
Pekerjaan Atap
7 |  |  |  | Baja Profil WF |  | Mutu Baja BJ-41 |  | 1
8 |  |  |  | Profil Canal C (CNP) C 150x50x20x3,2 | [5 empty] | 1 |  | Brosur
9 |  |  |  | Cat Baja |  |  |  | 1
10 |  |  |  | Angkur |  | M16 - pjg 500 mm |  | 1
11 |  |  |  | Baja Ringan |  | Taso |  | 1
|  |  | Alumunium Foil |  |  | tbl 8 mm setara Enerlife 1,2 m
Atap Zincalume
Roof Mesh
12 |  |  |  | Talang Air Galvalum Lebar 60 cm tbl. 0,4 mm
13 |  |  |  | Atap Bitumen +Underlayer |  | Bark Brown Ex. BSK |  | 1 |  |  |  |  | https://www.youtube.com/shorts/Prqji2GJv0g
14 |  |  |  | Multiplek |  | Tebal 12 mm |  | 1
A R S I T E K T U R
Pekerjaan Dinding
15 |  |  |  | Bata Ringan |  |  |  | 1
16 |  |  |  | Mortar Instan |  |  |  | 1
17 |  |  |  | Bata Roaster |  | Uk. 20x20 cm |  | 1
18 |  |  |  | Ornamen GRC Krawangan, Masjid |  |  |  | 1
19 |  |  |  | Ornamen Karawang beton masjid |  |  |  | 1
20 |  |  |  | Ornamen PVC masjid depam mihrab |  |  |  |  | 1
21 |  |  |  | Gazebo | [6 empty] | 1
22 |  |  |  | Cat Roster |  |  |  | 1
23 |  |  |  | Cat Lisplank |  |  |  | 1
24 |  |  |  | Cat Dinding |  |  |  | 1
Pekerjaan Lantai
25 |  |  |  | Keramik |  |  |  | - |  |  |  |  | Hal. 42
26 |  |  |  | Perekat Keramik |  |  |  | 1
27 |  |  |  | Nat Pengisi Keramik |  |  |  | 1 |  |  |  |  | Hal. 55
28 |  |  |  | Waterproofing |  |  |  | 1
29 |  |  |  | Floor Hardener |  |  |  | -
Pekerjaan Plafond
30 |  |  |  | Rangka Plafond |  | Hollow 40 x 40 |  | 1
31 |  |  |  | Plafond Gypsumboard |  |  |  | 1
32 |  |  |  | Lisplank |  |  |  | 1
33 |  |  |  | List Plafond Shadow Line |  |  |  | 1
34 |  |  |  | Cat Plafond |  |  |  | 1
Pekerjaan Pintu dan Jendela
35 |  |  |  | Kusen Aluminium |  |  |  | 1
36 |  |  |  | Louvres Alumunium |  |  |  | 1
37 |  |  |  | Pintu aluminium |  |  |  | 1
38 |  |  |  | HPL daun pintu |  |  |  | 1
39 |  |  |  | Pintu power house |  |  |  | 1
40 |  |  |  | Rolling Door |  |  |  |  | 1
41 |  |  |  | Aksesoris Pintu dan jendela |  |  |  | 1
42 |  |  |  | Kaca Polos 5 mm |  |  |  | 1
43 |  |  |  | Kaca Tempered 10 mm |  |  |  | 1
Pekerjaan Sanitair
44 |  |  |  | Closet jongkok |  |  |  | 1
45 |  |  |  | Closet duduk |  |  |  | 1
46 |  |  |  | Closet Difabel |  |  |  | 1
47 |  |  |  | Wastafel Dinding |  |  |  | 1
48 |  |  |  | Wastafel Stand Alone |  |  |  | 1
49 |  |  |  | Urinoir |  |  |  | 1
50 |  |  |  | Partisi Urinoir |  |  |  | 1
51 |  |  |  | Kran Air Closet jongkok |  |  |  | 1
52 |  |  |  | Kran wudhu |  |  |  | 1
53 |  |  |  | Kran wastafel |  |  |  | 1
54 |  |  |  | Tissue Holder |  |  |  | 1
55 |  |  |  | Jet washer |  |  |  | 1
56 |  |  |  | Shoap dispenser |  |  |  | 1
57 |  |  |  | Kitchen Sink |  |  |  | 1
58 |  |  |  | Kran Kitchen Sink |  |  |  | 1
59 |  |  |  | Robe Hook |  |  |  | 1
60 |  |  |  | Hand Dryer |  |  |  | 1
61 |  |  |  | Floor drain |  |  |  | 1
62 |  |  |  | Cermin |  |  |  | 1
Pekerjaan Lain-lain
63 |  |  |  | Lafadz Area Mihrab |  |  |  |  | 1
64 |  |  |  | Name Board Masjid |  |  |  |  | 1
65 |  |  |  | Name Board FC dan Resto | [6 empty] | 1
66 |  |  |  | Font Lettering Nama Masjid |  |  |  |  | 1
67 |  |  |  | Kubah Masjid Stainless |  |  |  |  | 1
68 |  |  |  | Ornamen GRC |  |  |  |  | 1
PEKERJAAN M E P
Pekerjaan Plumbing
69 |  |  |  | Pipa PVC AW |  |  |  | 1
70 |  |  |  | Pipa PPR |  |  |  | 1
71 |  |  |  | Septitank |  |  |  | 1
72 |  |  |  | Roof Drain |  |  |  | 1
73 |  |  |  | Floor Clean Out |  |  |  | 1
74 |  |  |  | Ball Valve Brass |  |  |  |  | 1
75 |  |  |  | Water Meter Brass | [6 empty] | 1
76 |  |  |  | Air Vent Cup | [6 empty] | 1
77 |  |  |  | Grease Trap |  |  |  |  | 1
Pekerjaan Lampu dan Instalasi
78 |  |  |  | Lampu Gantung Masjid |  |  |  | 1
79 |  |  |  | Downlight Meson LED 9 Watt |  |  |  | 1
80 |  |  |  | Downlight Meson LED 12 Watt |  |  |  | 1
81 |  |  |  | Downlight Outbow LED 12 Watt |  |  |  | 1
82 |  |  |  | Lp Balk TL LED 9 Watt |  |  |  | 1
83 |  |  |  | Lp. High Bay LED 155W |  |  |  | 1
84 |  |  |  | TL LED 18 Watt |  |  |  | 1
85 |  |  |  | Lampu Led Strip |  |  |  | 1
86 |  |  |  | Saklar Tunggal |  |  |  | 1
87 |  |  |  | Saklar Ganda |  |  |  | 1
88 |  |  |  | Stop Kontak Tunggal |  |  |  | 1
89 |  |  |  | Stop Kontak AC 13A |  |  |  | 1
90 |  |  |  | Pipa Conduit |  |  |  | 1
91 |  |  |  | Kabel NYM 3x2,5mm2 |  |  |  | 1
92 |  |  |  | Kabel NYM 3x2,5mm2 |  |  |  | 1
93 |  |  |  | Kabel NYM 3x4mm2 |  |  | Ex. Philips | 1
|  |  | Pekerjaan Tata Udara |  |  |  | Ex. Philips
94 |  |  |  | AC Split Wallmounted Kap. 1/2, 1, 3/4, 1 1/2, 2 |  |  | Ex. Philips | 1
95 |  |  |  | Aksesoris AC |  |  |  | 1
96 |  |  |  | Exhaust Fan Type Inline |  |  |  | 1
97 |  |  |  | Exhaust fan Ceiling |  |  |  |  | 1
98 |  |  |  | Exhaust fan wallmounted |  |  |  | 1
99 |  |  |  | Exhaust Air Grille |  |  |  | 1
100 |  |  |  | Flexible Joint Duct |  |  |  | 1
101 |  |  |  | Ducting BJLS |  |  |  | 1
Pekerjaan Tata Suara Masjid
102 |  |  |  | Digital Mixer Amplifier 2x240W |  |  |  | 1
103 |  |  |  | Power Amplifier 480W |  |  | Ex. Philips | 1
104 |  |  |  | Media Player |  |  |  | 1
105 |  |  |  | Cabinet Rack |  |  |  | 1
106 |  |  |  | Horn Speaker 50W |  |  |  | 1
107 |  |  |  | Compact Column Speaker 20W |  |  |  | 1
108 |  |  |  | Wireless Microphone |  |  |  | 1
109 |  |  |  | Clip On Micropon |  |  |  | 1
110 |  |  |  | Micropon Mimbar |  |  |  | 1
111 |  |  |  | Dinamic Mic |  |  |  | 1
112 |  |  |  | Kabel Instalasi NYYHY 2 x 2,5 mm |  |  |  | 1
Pekerjaan Elektrikal
113 |  |  |  | Panel Bangunan |  |  |  |  | 1
114 |  |  |  | MCB | [6 empty] | 1
115 |  |  |  | Stop kontak 1 Ph, 220 V | [6 empty] | 1
116 |  |  |  | Kabel Ladder |  |  |  | 1
117 |  |  |  | Kabel Tray |  |  |  | 1
MEP KAWASAN
Instalasi Air Bersih
118 |  |  |  | Pipa GIP |  |  |  | 1
119 |  |  |  | Pipa PPR |  |  |  | 1
120 |  |  |  | Wraping Pipa |  |  |  | 1
121 |  |  |  | Strainer |  |  |  | 1
122 |  |  |  | Gate Valve |  |  |  | 1
123 |  |  |  | Chek Valve |  |  | Ex. Panasonic | 1
124 |  |  |  | Flexible Joint |  |  |  | 1
125 |  |  |  | Katup Udara | [6 empty] | 1
126 |  |  |  | Manometer | [6 empty] | 1
126 |  |  |  | Carbon Filter |  |  |  | 1
128 |  |  |  | Sand Filter |  |  |  | 1
129 |  |  |  | Tanki FRP 8x8x3 |  |  |  | 1
130 |  |  |  | Tannki Roof Tank 12 m3 |  |  |  | 1
131 |  |  |  | Pompa Transfer |  |  |  | 1
132 |  |  |  | Pompa Deep Well |  |  |  | 1
133 |  |  |  | Water meter |  |  |  | 1
134 |  |  |  | Water Level control (WLC) | [6 empty] | 1
135 |  |  |  | Kran Taman |  |  |  | 1
Pekerjaan Hydrant
136 |  |  |  | Pompa Electric |  |  |  | 1
137 |  |  |  | Pompa Diesel |  |  |  | 1
138 |  |  |  | Pompa Jockey |  |  |  | 1
139 |  |  |  | Kabel Instalasi Hydrant |  |  |  | 1
140 |  |  |  | Pipa BSP |  |  |  | 1
141 |  |  |  | Gate Valve PN.16 |  |  |  | 1
142 |  |  |  | Main Control Valve PN.16 ( MCV ) 150 mm |  |  |  | 1
143 |  |  |  | Safety Valve PN.16 |  |  |  | 1
144 |  |  |  | Flexible Joint PN.16 |  |  |  | 1
145 |  |  |  | Strainer PN.16 |  |  |  | 1
146 |  |  |  | Check Valve PN.16 |  |  |  | 1
147 |  |  |  | Pressure Gauge termasuk Valve |  |  |  | 1
148 |  |  |  | Pressure Switch termasuk Valve |  |  |  | 1
149 |  |  |  | Foot Valve PN.16 plat | [6 empty] | 1
150 |  |  |  | Tangki Tekan Presure Tank ( PT ) Kap 500 L |  |  |  | 1
151 |  |  |  | Panel Hydrant |  |  |  | 1
152 |  |  |  | Hydran Pillar (HP) Two Wy Type |  |  |  | 1
153 |  |  |  | HydranBox (HB) dengan Hose Rell Cabinet |  |  |  | 1
154 |  |  |  | Siamesse Connection (SC) |  |  |  | 1
155 |  |  |  | Apar 6 kg dan 25 kg |  |  |  | 1
Pekerjaan Elektrikal
156 |  |  |  | Panel |  |  |  | 1
157 |  |  |  | Kabel Feeder |  |  |  | 1
158 |  |  |  | Genset |  |  |  | 1
159 |  |  |  | Trafo |  |  |  | 1
160 |  |  |  | Grounding System |  |  |  | 1
161 |  |  |  | Tanki solar dan aksesoris | [6 empty] | 1 | Brosur
162 |  |  |  | Tiang PJU |  |  |  | 1
163 |  |  |  | Kabel PJU |  |  |  | 1
164 |  |  |  | Tiang Highmas |  |  |  |  | 1
165 |  |  |  | Angkur PJU |  |  |  | 1
166 |  |  |  | Besi Tulangan Pondasi PJU |  |  |  | 1
167 |  |  |  | Lampu PJU |  |  |  | 1
168 |  |  |  | Lampu Highmash |  |  |  | 1
Penangkal Petir
169 |  |  |  | Lightening protection Radius 100 Meter |  |  |  | 1
170 |  |  |  | Pole tinggi 18 mtr |  |  |  | 1
171 |  |  |  | Kabel NYY 70 mm |  |  |  | 1
172 |  |  |  | Control box |  |  |  | 1
173 |  |  |  | Cable clemp dan Kabel Sling 10mm lengkap pondasi |  |  |  | 1
174 |  |  |  | Grounding BC 70 mm (max. 2 Ohm) |  |  |  | 1
Sound System Kawasan
175 |  |  |  | Power Amplifier 1 x 360 W ( Car Call ) |  |  |  | 1
176 |  |  |  | Equalizer |  |  |  | 1
177 |  |  |  | Am / FM Radio Tuner |  |  |  | 1
178 |  |  |  | Paging Microphone ( Car Call ) |  |  |  | 1
179 |  |  |  | Direct Microphone |  |  |  | 1
180 |  |  |  | Mixer Frame |  |  |  | 1
181 |  |  |  | Speaker Selector 5 Chanel |  |  |  | 1
182 |  |  |  | Cabinet Rack |  |  |  | 1
183 |  |  |  | Horn Speaker 25 W ( toa ) |  |  |  | 1
184 |  |  |  | Instalasi Horn Speaker Kabel NYMHY 2 x 1,5 mm2 |  |  |  | 1
CCTV Kawasan
185 |  |  |  | Network Video Recorder 32 Channel Multiplexer |  |  |  | 1
186 |  |  |  | Monitor 32" Komputer + Key Board controller |  |  |  | 1
187 |  |  |  | Router / Wiffi |  |  |  | 1
188 |  |  |  | TB. CCTV |  |  |  | 1
189 |  |  |  | Unit Camera PAN, TILT, ZOOM IP CAMERA |  |  |  | 1
190 |  |  |  | Instalasi camera CAT 6e + conduit |  |  |  | 1
PEKERJAAN LANDSEKAP
Pekerjaan Drainase
191 |  |  |  | Gorong-gorong Pipa Beton Bertulang |  | diameter dalam 60 cm |  | 1
192 |  |  |  | Saluran berbentuk U Tipe DS 3B (dengan tutup) |  |  |  | 1
Arsitektur
193 |  |  |  | Kereb Pracetak Jenis 3 (Kereb Berparit/Gutter) |  |  |  | 1
194 |  |  |  | Paving Blok |  | t 8 cm mutu C K 250 |  |  | 1
195 |  |  |  | Cat Kanstin |  |  |  | 1
Vegetasi
196 |  |  |  | Pohon Trembesi, Tembusu, Pule, Mahoni, Palem sadeng, Nibung | [6 empty] | 1
[5 empty] | JUMLAH TOTAL MATERIAL |  |  | 196
[5 empty] | JUMLAH MATERIAL YANG SUDAH DISETUJUI |  |  | 167 | 85.2%
[5 empty] | JUMLAH MATERIAL PROSES PENGAJUAN / TTD |  |  | 13 | 6.633%
[5 empty] | JUMLAH MATERIAL LAMPIRAN KURANG LENGKAP |  |  | 1 | 0.5102%
[5 empty] | JUMLAH MATERIAL YANG BELUM DIAJUKAN |  |  | 12 | 6.122%

## MOS
MONITORING MOS
No | Tanggal | Type Material | Nama Material | Vendor | Arsip File
1 | 2025-02-19 | Struktur | Wiremesh M6 | UJS | 19 Feb 25__MOS Wiremesh M6.pdf
2 | 2025-02-26 | Arsitektur | Bata Ringan, Pipa PVC AW | Alesha | 26 Feb 25__MOS Pengecekan Bata Ringan, Pipa PVC.pdf
3 | 2025-02-27 | Arsitektur | Bata Ringan FBI | UJS | 27 Feb 25__MOS Bata Ringan FBI.pdf
4 | 2025-03-05 | Plumbing | Pipa BSp | Madella | 05 Mar 25__MOS Pipa BSP.pdf
5 | 2025-03-06 | Plumbing | Pipa PVC AW Rucika | UJS | 06 Mar 25__MOS Pengecekan Pipa PVC.pdf
6 | 2025-03-11 | Plumbing | Pipa BSp | Madela | 11 Mar 25__ MOS Pipa BSP.pdf
7 | 2025-03-17 | Struktur | Baja Profil IWF | UJS | 17 Mar 25__MOS Pengecekan Baja Profil WF.pdf
8 | 2025-03-22 | Struktur | Atap Bitumen | Alesha | 22 Mar 25__MOS Atap Bitumen.pdf
9 | 2025-03-22 | Struktur | Baja Ringan | Alesha | 22 Mar 25__MOS Baja Ringan.pdf
10 | 2025-03-22 | Arsitektur | Multiplek | Alesha | 22 Mar 25__MOS Multiplek.pdf
11 | 2025-03-25 | Struktur | Baja Profil WF | Alesha | 25 Mar 25__MOS Baja Profil RA Kiri.pdf
12 | 2025-04-13 | Arsitektur | Hollow Plafond | Alesha | 13 Aprl 25__MOS Hollow Plafond Sisi Kiri.pdf
13 | 2025-04-13 | Arsitektur | Keramik | Alesha | 13 Aprl 25__MOS Keramik Sisi Kiri.pdf
14 | 2025-04-13 | Plumbing | Sanitary | Alesha | 13 Aprl 25__MOS Sanitary Sisi Kiri.pdf
15 | 2025-04-17 | Struktur | Atap Bitumen | UJS | 17 Aprl 25__MOS Atap Sisi Kanan.pdf
16 | 2025-04-23 | Elektrikal | CCTV | Madella | 23 Aprl 25__MOS CCTV.pdf
17 | 2025-04-23 | Elektrikal | Kabel PJU | Madella | 23 Aprl 25__MOS Kabel Feeder.pdf
18 | 2025-04-23 | Elektrikal | Kabel UTP | Madella | 23 Aprl 25__MOS Kabel UTP.pdf
19 | 2025-04-23 | Elektrikal | Lampu PJU | Madella | 23 Aprl 25__MOS Lampu PJU.pdf
20 | 2025-05-13 | Hydrant | Siamese Conection | Madella | 13 Mei 25__MOS Siamesse Connection.pdf
21 | 2025-05-13 | Air bersih | Gate valve type secrew | Madella | 13 Mei 25__MOS Gate Valve.pdf
22 | 2025-05-13 | Hydrant | Apar 25 kg | Madella | 13 Mei 25__MOS Apar.pdf
23 | 2025-05-13 | Hydrant | Hydrant box type c | Madella | 13 Mei 25__MOS Hydrant Box.pdf
24 | 2025-05-13 | Hydrant | Hydrant pillar two ways | Madella | 13 Mei 25__MOS Hydrant Pillar.pdf
25 | 2025-05-13 | Air bersih | Pipa PPR Rucika | Madella | 13 Mei 25__MOS Pipa PPR.pdf
26 | 2025-05-13 | Hydrant | Tangki FRP Biotechno | Madella | 13 Mei 25__MOS FRP.pdf
27 | 2025-05-13 | Mechanical Electric | Pengeras suara TOA | Madella | 13 Mei 25__MOS Tata Suara Kawasan.pdf
28 | 2025-05-22 | Arsitektur | Keramik | UJS | 22 Mei 25__MOS Keramik.pdf
29 | 2025-05-22 | Arsitektur | Kusen | UJS | 22 Mei 25__MOS Kusen RA kanan.pdf
30 | 2025-05-30 | Arsitektur | Kusen | UJS | 30 Mei 25__MOS Kusen.pdf
31 | 2025-05-31 | Mechanical Electric | Kabel FRC 4x95 | Madella | 31 Mei 25__MOS Kabel FRC 4x95.pdf
32 | 2025-05-31 | Plumbing | Pompa Electric Hydrant | Madella | 31 Mei 25__MOS Pompa Electric Hydrant.pdf
33 | 2025-05-31 | Plumbing | Pompa Transfer | Madella | 31 Mei 25__MOS Pompa Transfer.pdf
34 | 2025-06-03 | Plumbing | Gate Valve Hydrant 6" | Madella | 3 Jun 25__MOS Gate Valve.pdf
35 | 2025-06-03 | Mechanical Electric | Genset | Madella | 3 Jun 25__MOS Genset.pdf
36 | 2025-06-03 | Mechanical Electric | Kabel N2XY 3x300 | Madella | 3 Jun 25__MOS Kabel N2XY 3x300.pdf
37 | 2025-06-03 | Plumbing | Kabel NYY 1x70 | Madella | 3 Jun 25__MOS Kabel NYY 1x70.pdf
38 | 2025-06-03 | Plumbing | Pompa Jockey | Madella | 3 Jun 25__MOS Pompa Jockey.pdf
39 | 2025-06-03 | Mechanical Electric | Tegangan Menengah | Madella | 3 Jun 25__MOS TM.pdf
40 | 2025-06-03 | Mechanical Electric | Trafo | Madella | 3 Jun 25__MOS Trafo.pdf
41 | 2025-06-03 | Plumbing | Y Strainer | Madella | 3 Jun 25__MOS Y Strainer.pdf
42 | 2025-06-05 | Arsitektur | Kusen | Alesha | 5 Jun 25__MOS Kusen Alesha.pdf
43 | 2025-06-05 | Plumbing | STP Kap. 1,2,3,4, dan 5 m3 | Alesha | 5 Jun 25__MOS STP Biotechno.pdf
44 | 2025-06-05 | Elektrikal | Kabel NYMHY 2x2.5 | Alesha | 5 Jun 25__MOS Kabel Speaker.pdf
45 | 2025-06-05 | Plumbing | Kitchen Sink | Alesha | 5 Jun 25__MOS Kitchen sink.pdf
46 | 2025-06-05 | Arsitektur | Cat Dasar Wall Sealer 5100 | Alesha | 5 Jun 25__MOS Cat Dasar Wall Sealer 5100.pdf
47 | 2025-06-05 | Arsitektur | Cat Plafond Nippon Spot less | Alesha | 5 Jun 25__MOS Cat Plafond Nippon Spot less.pdf
48 | 2025-06-05 | Arsitektur | Mortar MU 200 Acian | Alesha | 5 Jun 25__MOS Mortar MU 200 Acian.pdf
49 | 2025-06-05 | Arsitektur | Mortar MU 380 Pasangan bata | Alesha | 5 Jun 25__MOS Mortar MU 380 Pasangan bata.pdf
50 | 2025-06-05 | Arsitektur | Mortar MU 420 Cerafic | Alesha | 5 Jun 25__MOS Mortar MU 420 Cerafic.pdf
51 | 2025-06-05 | Arsitektur | Mortar MU 301 Plesteran | Alesha | 5 Jun 25__MOS Mortar MU 301 Plesteran.pdf
52 | 2025-06-14 | Elektrikal | Lampu TL 20 watt | Alesha | 14 Jun 25__MOS Lampu TL 20 watt.pdf
53 | 2025-06-14 | Elektrikal | Lampu TL 10 watt | Alesha | 14 Jun 25__MOS Lampu TL 10 watt.pdf
54 | 2025-06-14 | Elektrikal | Lampu Downlight 9 watt | Alesha | 14 Jun 25__MOS Lampu Downlight 9 watt.pdf
55 | 2025-06-14 | Elektrikal | Lampu Magneos 9 watt | Alesha | 14 Jun 25__MOS Lampu Downligh 9 watt.pdf
56 | 2025-06-14 | Elektrikal | Lampu Magneos 12 watt | Alesha | 14 Jun 25__MOS Lampu Downlight 12 watt.pdf
57 | 2025-06-14 | Plumbing | Ball Valve 1/2" | Alesha | 14 Jun 25__MOS Ball Valve 0.5 inch.pdf
58 | 2025-06-14 | Plumbing | Ball Valve 2" | Alesha | 14 Jun 25__MOS Ball Valve.pdf
59 | 2025-06-14 | Plumbing | Gate Valve 2 1/2" | Alesha | 14 Jun 25__MOS Gate Valve.pdf
60 | 2025-06-14 | Elektrikal | Lampu Dinding Masjid | Alesha | 14 Jun 25__MOS Lampu dinding Masjid.pdf
61 | 2025-06-14 | Elektrikal | Lampu Gantung Masjid | Alesha | 14 Jun 25__MOS Lampu Gantung Masjid.pdf
62 | 2025-06-14 | Elektrikal | Kabel Tray | Alesha | 14 Jun 25__MOS Kabel Tray.pdf
63 | 2025-06-14 | Aksesoris Pintu dan Jendela | MTS IL DL 8585 Matt Black | Alesha | 14 Jun 25__MOS MTS IL DL 8585 Matt Black.pdf
64 | 2025-06-14 | Aksesoris Pintu dan Jendela | Sliding Rail SCO 8020 2m | Alesha | 14 Jun 25__MOS Sliding Rail SCO 8020 2m.pdf
65 | 2025-06-14 | Aksesoris Pintu dan Jendela | Handle LHTR 019 Matt Black | Alesha | 14 Jun 25__MOS Handle LHTR 019 Matt Black.pdf
66 | 2025-06-14 | Aksesoris Pintu dan Jendela | Engsel Jendela DKS SUS 304 | Alesha | 14 Jun 25__MOS Engsel Jendela DKS SUS 304.pdf
67 | 2025-06-14 | Aksesoris Pintu dan Jendela | Hinge Nylon ES IR4x3x3 Matt Black | Alesha | 14 Jun 25__MOS Hinge Nylon ES IR4x3x3 Matt Black.pdf
68 | 2025-06-14 | Aksesoris Pintu dan Jendela | Flush Bold FB 040 8 Matt Black | Alesha | 14 Jun 25__MOS Flush Bold FB 040 8 Matt Black.pdf
69 | 2025-06-14 | Aksesoris Pintu dan Jendela | Flush Bold FB 040 12 Matt Black | Alesha | 14 Jun 25__MOS Flush Bold FB 040 12 Matt Black.pdf
70 | 2025-06-14 | Aksesoris Pintu dan Jendela | Floor Spring FH 84 Matt Black | Alesha | 14 Jun 25__MOS Floor Spring FH 84 Matt Black.pdf
71 | 2025-06-14 | Aksesoris Pintu dan Jendela | Floor Glass PT 20 Matt Black | Alesha | 14 Jun 25__MOS Floor Glass PT 20 Matt Black.pdf
72 | 2025-06-14 | Aksesoris Pintu dan Jendela | Floor Glass US 10 Matt Black | Alesha | 14 Jun 25__MOS Floor Glass US 10 Matt Black.pdf
73 | 2025-06-14 | Aksesoris Pintu dan Jendela | Floor Glass PT 10 Matt Black | Alesha | 14 Jun 25__MOS Engsel Jendela DKS SUS 304.pdf
74 | 2025-06-14 | Aksesoris Pintu dan Jendela | Handle LHTR 84040 Oval Matt Black | Alesha | 14 Jun 25__MOS Handle LHTR 84040 Oval Matt Black.pdf
75 | 2025-06-14 | Aksesoris Pintu dan Jendela | Interlatch MTS IL 84030 Matt Black | Alesha | 14 Jun 25__MOS Interlatch MTS IL 84030 Matt Black.pdf
76 | 2025-06-14 | Aksesoris Pintu dan Jendela | Cylinder CYL DL 60 mm Matt Black | Alesha | 14 Jun 25__MOS Cylinder CYL DL 60 mm Matt Black.pdf
77 | 2025-06-14 | Aksesoris Pintu dan Jendela | Hinge ESS DL 4x3x2x2 mm 2BB Matt Black | Alesha | 14 Jun 25__MOS Hinge ESS DL 4x3x2x2 mm 2BB Matt Black.pdf
78 | 2025-06-14 | Aksesoris Pintu dan Jendela | Door Stoper OS 001 SSS | Alesha | 14 Jun 25__MOS Door Stoper OS 001 SSS.pdf
79 | 2025-06-14 | Aksesoris Pintu dan Jendela | MTS RL DL 8585 Matt Black | Alesha | 14 Jun 25__MOS MTS RL DL 8585 Matt Black.pdf
80 | 2025-06-16 | Cat Dinding | Nippon Crater Black (NP N 2030 A) | Alesha | 16 Jun 25__MOS Cat Interior Crater Black.pdf
81 | 2025-06-16 | Cat Dinding | Nippon Gray Suit (NP N 2027 P) | Alesha | 16 Jun 25__MOS Cat Interior Nippon Gray Suit.pdf
82 | 2025-06-16 | Cat Dinding | Nippon Reticent White (NP OW 1083 P) | Alesha | 16 Jun 25__MOS Cat Interior Nippon Reticent White.pdf
83 | 2025-06-16 | Cat Dinding | Nippon Crater Black (NP N 2030 A) | Alesha | 16 Jun 25__MOS Cat Exterior Crater Black.pdf
84 | 2025-06-16 | Cat Dinding | Nippon Gray Suit (NP N 2027 P) | Alesha | 16 Jun 25__MOS Cat Exterior Nippon Gray Suit.pdf
85 | 2025-06-16 | Cat Dinding | Nippon Reticent White (NP OW 1083 P) | Alesha | 16 Jun 25__MOS Cat Exterior Nippon Reticent White.pdf
86 | 2025-06-16 | Cat Plafond | Nippon Briliant White (1001) | Alesha | 16 Jun 25__MOS Cat Plafond.pdf
87 | 2025-06-19 | Elektrikal | MOS Apar 6 kg | UJS | 19 Jun 25__MOS Apar.pdf
88 | 2025-06-19 | Cat Dinding | MOS Cat Exterior Nippon Weatherbond Creater Black | UJS | 19 Jun 25__MOS Cat Exterior Nippon Weatherbond Creater Black.pdf
89 | 2025-06-19 | Cat Dinding | MOS Cat Exterior Nippon Weatherbond Gray Suit | UJS | 19 Jun 25__MOS Cat Exterior Gray Suit.pdf
90 | 2025-06-19 | Cat Dinding | MOS Cat Exterior Nippon Weatherbond Reticent White | UJS | 19 Jun 25__MOS Cat Exterior Nippon Weatherbond Reticent White.pdf
91 | 2025-06-19 | Cat Dinding | MOS Cat Interior Nippon Spot Less Creater Black | UJS | 19 Jun 25__MOS Cat Interior Nippon Spot Less Creater Black.pdf
92 | 2025-06-19 | Cat Dinding | MOS Cat Interior Nippon Spot Less Gray Suit | UJS | 19 Jun 25__MOS Cat Interior Nippon Spot Less Gray Suit.pdf
93 | 2025-06-19 | Cat Dinding | MOS Cat Interior Nippon Spot Less Reticent White | UJS | 19 Jun 25__MOS Cat Interior Nippon Spot Less Reticent White.pdf
94 | 2025-06-19 | Cat Plafond | MOS Cat Plafond | UJS | 19 Jun 25__MOS Cat Plafond.pdf
95 | 2025-06-19 | Cat Dinding | MOS Cat Wall Sealer 5100 | UJS | 19 Jun 25__MOS Cat Wall Sealer 5100.pdf
96 | 2025-06-19 | Cat Dinding | MOS Cat Wall Sealer 5400 | UJS | 19 Jun 25__MOS Cat Wall Sealer 5400.pdf
97 | 2025-06-19 | Sanitary | MOS Closet Difable | UJS | 19 Jun 25__MOS Closet Difable.pdf
98 | 2025-06-19 | Sanitary | MOS Closet Duduk | UJS | 19 Jun 25__MOS Closet Duduk.pdf
99 | 2025-06-19 | Sanitary | MOS Closet Jongkok | UJS | 19 Jun 25__MOS Closet Jongkok.pdf
100 | 2025-06-19 |  | MOS Ducting BJLS | UJS | 19 Jun 25__MOS Ducting BJLS.pdf
101 | 2025-06-19 |  | MOS Engsel ESS DL 4x3x2 mm 2BB Matt Black | UJS | 19 Jun 25__MOS Engsel ESS DL 4x3x2 mm 2BB Matt Black.pdf
102 | 2025-06-19 |  | MOS Floor Drain | UJS | 19 Jun 25__MOS Floor Drain.pdf
103 | 2025-06-19 |  | MOS Handle LHTR-DKS-019-Matt Black | UJS | 19 Jun 25__MOS Handle LHTR-DKS-019-Matt Black.pdf
104 | 2025-06-19 |  | MOS Horn Speaker TOA ZP-2240 | UJS | 19 Jun 25__MOS Horn Speaker.pdf
105 | 2025-06-19 |  | MOS Jet Washer | UJS | 19 Jun 25__MOS Jet Washer.pdf
106 | 2025-06-19 |  | MOS Kabel NYM 3 x 2.5, NYM 3x4 | UJS | 19 Jun 25__MOS Kabel Elektrikal.pdf
107 | 2025-06-19 |  | MOS Kabel Tray | UJS | 19 Jun 25__MOS Kabel Tray.pdf
108 | 2025-06-19 |  | MOS Kitchen Sink | UJS | 19 Jun 25__MOS Kitchen sink.pdf
109 | 2025-06-19 |  | MOS Kran Air Closet Jongkok | UJS | 19 Jun 25__MOS Kran Air closet jongkok.pdf
110 | 2025-06-19 |  | MOS Kran Kitchen Sink | UJS | 19 Jun 25__MOS Kran Kitchen Sink.pdf
111 | 2025-06-19 |  | MOS Kran Wastafel | UJS | 19 Jun 25__MOS Kran Wastafel Stand Alone.pdf
112 | 2025-06-19 |  | MOS Kran Wudhu | UJS | 19 Jun 25__MOS Kran Wudhu.pdf
113 | 2025-06-19 |  | MOS Kunci CYL DC 60 mm Matt Black | UJS | 19 Jun 25__MOS Kunci CYL DC 60 mm Matt Black.pdf
114 | 2025-06-19 |  | MOS Lampu 12 Watt | UJS | 19 Jun 25__MOS Lampu Downlight 12 watt.pdf
115 | 2025-06-19 |  | MOS Lampu 9 Watt | UJS | 19 Jun 25__MOS Lampu Downlight 9 watt.pdf
116 | 2025-06-19 |  | MOS Lampu LED Strip | UJS | 19 Jun 25__MOS Lampu Led Strip.pdf
117 | 2025-06-19 |  | MOS Lampu 9 Watt | UJS | 19 Jun 25__MOS Lampu Downlight12 watt.pdf
118 | 2025-06-19 |  | MOS Lock Chase MTS-L-DKS-DL-8585-IL-Matt Black | UJS | 19 Jun 25__MOS Lock Chase MTS-L-DKS-DL-8585-IL-Matt Black.pdf
119 | 2025-06-19 |  | MOS Partisi Urinoir | UJS | 19 Jun 25__MOS Partisi Urinoir.pdf
120 | 2025-06-19 |  | MOS Pipa Conduit | UJS | 19 Jun 25__MOS Pipa Conduit.pdf
121 | 2025-06-19 |  | MOS Saklar Ganda | UJS | 19 Jun 25__MOS Saklar Ganda.pdf
122 | 2025-06-19 |  | MOS Saklar Tunggal | UJS | 19 Jun 25__MOS Saklar Tunggal.pdf
123 | 2025-06-19 |  | MOS Shoap Dispenser | UJS | 19 Jun 25__MOS Shoap Dispenser.pdf
124 | 2025-06-19 |  | MOS Sika Top - 107 Seal ID | UJS | 19 Jun 25__MOS Sika Top - 107 Seal ID.pdf
125 | 2025-06-19 |  | MOS Stop Kontak | UJS | 19 Jun 25__MOS Stop Kontak.pdf
126 | 2025-06-19 |  | MOS Tissue Holder | UJS | 19 Jun 25__MOS Tissue Holder.pdf
127 | 2025-06-19 |  | MOS Urinoir | UJS | 19 Jun 25__MOS Urinoir.pdf
128 | 2025-06-19 |  | MOS Wastafel Dinding | UJS | 19 Jun 25__MOS Wastafel dinding.pdf
129 | 2025-06-19 |  | MOS Wastafel Stand Alone | UJS | 19 Jun 25__MOS Wastafel Stand Alone.pdf
130 | 2025-06-25 |  | MOS Makara Masjid | UJS | 25 Jun 25__MOS Makara masjid.pdf
131 | 2025-06-25 |  | MOS Exhaust Fan | UJS | 25 Jun 25__MOS Exhaust Fan.pdf
132 | 2025-06-25 |  | MOS Panel dan Mesin STP | UJS | 25 Jun 25__MOS Panel&Pompa STP.pdf
133 | 2025-06-25 |  | MOS AC Split | UJS | 25 Jun 25__MOS AC Split.pdf
134 | 2025-07-11 |  | MOS Rolling Door | Alesha | 11 Jul 25__MOS Rolling Door.pdf
135 | 2025-07-11 |  | MOS AC Sisi Kiri | Alesha | 11 Jul 25__MOS AC Sisi Kiri.pdf
136 | 2025-07-11 |  | MOS Grease Trap | Alesha | 11 Jul 25__MOS Grease Trap.pdf
137 | 2025-07-11 |  | MOS Lampu Highbay | Alesha | 11 Jul 25__MOS Lampu Highbay.pdf
138 | 2025-07-11 |  | MOS Panel Bangunan | Alesha | 11 Jul 25__MOS Panel Bangunan.pdf

## BA Pengetesan
MONITORING PENGUJIAN
No | Tanggal | Pengujian | Vendor | Arsip File
1 | 2025-02-25 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 25 Feb 25__ BA Test Penetrant Pipa Hydrant RA B.pdf
2 | 2025-02-27 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 27 Feb 25__BA Test Penetrant Pipa Hydrant.pdf
3 | 2025-02-28 | Kunjungan Pabrikasi Baja Profil | UJS | 28 Feb 25__ BA Kunjungan Pabrikasi Baja Profil.pdf
4 | 2025-03-02 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 02 Mar 25__ BA Test Penetrant Pipa Hydrant sisi Kanan.pdf
5 | 2025-03-02 | Test Penetrant Pipa Hydrant RA Sisi Kiri | Madella | 02 Mar 25__BA Test Penetrant Pipa Hydrant sisi Kiri.pdf
6 | 2025-03-07 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 07 Mar 23__ BA Test Penetrant Pipa Hydrant sisi Kanan.pdf
7 | 2025-03-13 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 13 Mar 25__BA Test Penetrant Pipa Hydrant sisi Kanan.pdf
8 | 2025-03-17 | Test Penetrant Baja WF | UJS | 17 Mar 25__BA Test Penetrant Baja WF.pdf
9 | 2025-03-18 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 18 Mar 25__BA Test Penetrant Pipa Hydrant sisi Kanan.pdf
10 | 2025-03-20 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 20 Mar 25__BA Test Penetrant Pipa Hydrant sisi Kanan.pdf
11 | 2025-04-10 | Test Penetrant Pipa Hydrant RA Sisi Kanan | Madella | 10 Aprl 25__BA Test Penetrant Pipa Hydrant sisi Kanan.pdf
12 | 2025-04-10 | Test Penetrant Pipa Hydrant RA Sisi Kiri | Madella | 10 Aprl 25__BA Test Penetrant Pipa Hydrant sisi Kiri.pdf
13 | 2025-04-11 | Test Gelontor Toilet Sisi Kiri | Alesha | 11 Aprl 25__BA Test Gelontor Toilet Sisi Kiri.pdf
14 | 2025-04-14 | Test Gelontor Kantor Pengelola Sisi Kanan | UJS | 14 Aprl 25__BA Test Glontor Kantor Pengelola.pdf
15 | 2025-04-14 | Test Penetrant Pipa Hydrant RA Sisi Kanan Kiri | Madella | 14 Aprl 25__BA Test Penetrant Pipa Hydrant sisi RL.pdf
16 | 2025-04-23 | Test Gelontor Foodcourt Sisi Kanan | UJS | 23 Aprl 25__BA Test Glontor Foodcourt Sisi Kanan.pdf
17 | 2025-04-23 | Test Torsi Foodcourt Sisi Kanan | UJS | 23 Aprl 25__BA Test Torsi Foodcourt Sisi Kanan.pdf
18 | 2025-04-23 | Test Torsi Masjid Sisi Kanan | UJS | 23 Aprl 25__BA Test Torsi Masjid Sisi Kanan.pdf
19 | 2025-04-23 | Test Torsi Restaurant Sisi Kanan | UJS | 23 Aprl 25__BA Test Torsi Restoran Sisi Kanan.pdf
20 | 2025-04-26 | Test Gelontor Masjid Sisi Kiri | Alesha | 26 Aprl 25__BA Test Gelontor Masjid Sisi Kiri.pdf
21 | 2025-04-26 | Test Gelontor Restaurant Sisi Kiri | Alesha | 26 Aprl 25__BA Test Gelontor Restoran Sisi Kiri.pdf
22 | 2025-05-07 | Test Megger Toilet, Masjid, Klinik, Kantor Pengelola | UJS | 07 Mei 25__BA Test Megger Toilet, Masjid, K Pengelola.pdf
23 | 2025-05-20 | Test Megger Restaurant Sisi Kanan | UJS | 20 Mei 25__BA Test Megger Restoran.pdf
24 | 2025-05-20 | Pressure Test Pipa PPR Masjid Sisi Kanan | UJS | 20 Mei 25__BA Pressure Test Pipa PPR Masjid.pdf
25 | 2025-05-21 | Test Gelontor Foodcourt Sisi Kiri | Alesha | 21 Mei 25__BA Test Glontor Foodcourt.pdf
26 | 2025-05-22 | Test Torsi Highmas Sisi Kanan | Madella | 22 Mei 25__BA Test Torsi Highmas.pdf
27 | 2025-05-23 | Pressure Test Pipa PPR Kantor Pengelola Sisi Kanan | UJS | 23 Mei 25__BA Pressure Test Pipa PPR Kantor Pengelola.pdf
28 | 2025-05-23 | Pressure Test Pipa PPR Masjid Sisi Kanan | UJS | 23 Mei 25__BA Pressure Test Pipa PPR Masjid.pdf
29 | 2025-06-09 | Pengambilan Sampel Air | Madella | 9 Jun 25__Pengambilan Sampel Air.pdf
30 | 2025-06-14 | Test Megger Foodcourt Sisi Kanan | UJS
31 | 2025-06-18 | Test Megger Bengkel, Masjid, Toilet, Kantin, Kantor Pengelola Sisi Kiri | Alesha | 18 Jun 25__Test Megger Bengkel, Masjid, Toilet, Kantin, Kantor Pengelola Sisi Kiri.pdf
32 | 2028-08-02 | Testing & Commisioning RA Sisi Kiri | Alesha | Testing & Commisioning RA Sisi Kiri.pdf
33 | 2028-08-04 | Testing & Commisioning RA Sisi Kanan | UJS, Perintis | Testing & Commisioning RA Sisi Kanan.pdf

## TKDN
MONITORING TKDN
No | Material | Arsip File
1 | TKDN Kusen Alexindo | TKDN Alexindo.pdf
2 | TKDN Besi Asia Steel | TKDN Asia Steel.pdf
3 | TKDN CCTV | TKDN CCTV.pdf
4 | TKDN Cermin | TKDN Cermin.pdf
5 | TKDN Panel FRP | TKDN FRP.pdf
6 | TKDN Genset | TKDN Genset.pdf
7 | TKDN Glass Block | TKDN Glass Block.pdf
8 | TKDN Kabel Feeder | TKDN Kabel Feeder.pdf
9 | TKDN Kabel Ladder | TKDN Kabel Ladder.pdf
10 | TKDN Kabel NYM Bangunan | TKDN Kabel NYM.pdf
11 | TKDN Kabel PJU | TKDN Kabel PJU.pdf
12 | TKDN Kabel Tray | TKDN Kabel Tray.pdf
13 | TKDN Keramik | TKDN Keramik.pdf
14 | TKDN Lampu Highmash | TKDN Lampu Highmash.pdf
15 | TKDN Lampu PJU | TKDN Lampu PJU.pdf
16 | TKDN Lautan Steel | TKDN LS.pdf
17 | TKDN Pipa BSP SCH 40 | TKDN Pipa BSP SCH 40.pdf
18 | TKDN Pipa GIP | TKDN Pipa GIP.pdf
19 | TKDN Pipa PVC | TKDN Pipa PVC.pdf
20 | TKDN PN 10 Yuta | TKDN PN 10 Yuta.pdf
21 | TKDN PN 16 Yuta | TKDN PN 16 Yuta.pdf
22 | TKDN Pompa Hydrant | TKDN Pompa Hydrant.pdf
23 | TKDN Sanitary | TKDN Sanitary.pdf
24 | TKDN STP | TKDN STP.pdf
25 | TKDN Tiang PJU | TKDN Tiang PJU.pdf
26 | TKDN Tiang Highmash | TKDN Tiang Highmash.pdf
27 | TKDN TOA | TKDN TOA.pdf
28 | TKDN Trafo | TKDN Trafo.pdf
29 | TKDN Wajra | TKDN Wajra.pdf

## Garansi
MONITORING GARANSI PRODUK
No | Material | Arsip File
1 | Surat Keterangan Garansi Low Voltage 220V-400VAC50HZ- Jalur A | Surat Keterangan Garansi Low Voltage 220V-400VAC50HZ- Jalur A.pdf
2 | Surat Keterangan Garansi Low Voltage 220V-400VAC50HZ- Jalur B | Surat Keterangan Garansi Low Voltage 220V-400VAC50HZ- Jalur B.pdf
3 | Surat Keterangan Garansi CCTV | Surat Keterangan Garansi CCTV.pdf
4 | Surat Keterangan Garansi Gate Valve | Surat Keterangan Garansi Gate Valve.pdf
5 | Surat Keterangan Garansi Genset | Surat Keterangan Garansi Genset.pdf
6 | Surat Keterangan Garansi Kabel Metal | Surat Keterangan Garansi Kabel Metal.pdf
7 | Surat Keterangan Garansi Lampu Highmash | Surat Keterangan Garansi Lampu Highmash.pdf
8 | Surat Keterangan Garansi Lampu PJU | Surat Keterangan Garansi Lampu PJU.pdf
9 | Surat Keterangan Garansi Panel Switchgear IM & QM 20KV Jalur A | Surat Keterangan Garansi Panel Switchgear IM & QM 20KV Jalur A.pdf
10 | Surat Keterangan Garansi Panel Switchgear IM & QM 20KV Jalur B | Surat Keterangan Garansi Panel Switchgear IM & QM 20KV Jalur B.pdf
11 | Surat Keterangan Garansi Penangkal Petir | Surat Keterangan Garansi Penangkal Petir.pdf
12 | Surat Keterangan Garansi Sound System TOA | Surat Keterangan Garansi Sound System TOA.pdf
13 | Surat Keterangan Garansi Trafo | Surat Keterangan Garansi Trafo.pdf
14 | Surat Keterangan Garansi Unit Madella | Surat Keterangan Garansi Unit Madella.pdf

## Manual Book
MONITORING MANUAL BOOK
No | Material | Arsip File
1 | Manual Book IM 500mm Cubicle | Manual Book IM 500mm Cubicle.pdf
2 | Manual Book IP-PM-QM Cubicle | Manual Book IP-PM-QM Cubicle.pdf
3 | Manual Book Lampu Downlight DL262 | Manual Book Lampu Downlight DL262.pdf
4 | Manual Book Lampu Downlight DN027C | Manual Book Lampu Outbow DN027C.pdf
5 | Manual Book Penangkal Petir | Manual Book Penangkal Petir.pdf
6 | Manual Book Lampu Highbay | Manual Book Lampu Highbay.pdf
7 | Manual Book Grounding Rood | Manual Book Grounding Rood.pdf
8 | Manual Book Lampu PJU | Manual Book Lampu PJU.pdf
9 | Manual Book Monitor LG | Manual Book Monitor LG.pdf
10 | Manual Book MVMDP | Manual Book MVMDP.pdf
11 | Manual Book Sound System Kawasan | Manual Book Sound System Kawasan.pdf
12 | Manual Book CCTV | Manual Book CCTV.pdf